## Pre Bid Queries
S.No. | Existing Clause | Existing Clause Description | Requested amendment/Clarification | TPSODL Remarks
1 | Page 39, Clause 7. Scope of Work: | Note: All the latest data model and surveyed sample photos will be shared to vendor after bid purchase. | Request you to share the data | Datamodel attached in the same workbook. Photos will be shared once bidder techically qualified
2 | Page 45, Clause 10. Questions: | Below is the list of questions that vendor has to answer to ensure vendor is in better position to execute scope of work. | We understand that the answers to these questions will demonstration. Please clarify..? | Vendor shall demonstrate the process at the time of technical evaluation.
3 | Page 30, 5.1 Technical Evalution criteria | Technology: Demonstration for extraction of features and geo location of Images captured through Drone using AI/ML technology. If successfully demonstrated then 25 marks will be awarded. If partially demonstrated then 10 marks will be awarded. If not demonstrated then 0 marks will be awarded. | What will be the expected timeline for demonstration. Request to given advance information to bidder for the arrangement of demonstration | Within 5 working days after the submission of technical bid.
4 | Corrigendum No. – 1 Last date and time of receipt of Bids | 22.12.2023 up to 15:00 Hours | Request you to kindly extend the tender submission date by another 1 week after sharing the requested data. | May Please refer the corrigendum in this regards.

## Electric Data Model
· TPSODL Land Feature Classes
Sr. No | Category | Object | Child Objects | Geometry Type
1 | Structures | Substation | Grid Substation | Location, Extent
Primary Substation
Distribution Substation
Customer Substation
HVDS
2 | Structures | Switchgear | Cubicle | Location, Extent
CTPT Panel
RMU
RMU+CTPT
PASS
Packaged Substation
Pad Mounted
GIS
3 | Structures | Cabinet | LV Cubicle | Location, Extent
SFU Panel
Meter Panel
Feeder Pillar with Breaker
Feeder Pillar without Breaker
LV Junction Box
Bus Raiser Panel
Others
4 | Structures | Tower | Transmission Tower | Location
5 | Structures | Pole | Primary | Location
Secondary
Guy Stub
6 | Conductors | Connector Segment Installation | Busbar | Route
Internal Link
7 | Conductors | Cable Segment | HV Cable | Route
MV Cable
LV Cable
8 | Conductors | Wire Segment | HV Conductor | Route
MV Conductor
LV Conductor
9 | Structures | Conduit | Conduit | Route
10 | Equipment’s | Comms Device | Control and Relay Panel | Location
Remote Terminal
AMR Modem
IOT Device
11 | Equipment’s | Connector Point Installation | Cable Joint | Location
Termination
End Point
Wire Joint
Branch Point
12 | Equipment’s | Isolating Equipment Installation | Switch | Pin, Connector
Fuse
Circuit Breaker
Cut point
13 | Equipment’s | Measuring Equipment Installation | Current Transformer | Location
Potential Transformer
Current Potential Transformer
14 | Equipment’s | Power Transformer Installation | Power Transformer | Location
Distribution Transformer
Station Auxiliary Transformer
15 | Equipment’s | Protective Equipment Installation | Fault Pass Indicator | Location
Relay
Lightening Arrester
16 | Equipment’s | Regulating Equipment Installation | Capacitor Bank | Location
17 | Equipment’s | Service Point | Service Delivery Point | Location
18 | Equipment’s | Meter | Primary Meter | Location
Consumer Meter
19 | Equipment’s | Energy Source | Battery Charger | Location
20 | Equipment’s | Energy Storage Installation | Battery | Location
21 | Others | Fiber-Optic | OFC Cable | Route
22 | Others | Circuit | Feeder Entity | Extent

## Electric Feature Data Model
Object Int Name | Shape Field Name | Field Data Type | Field Length | Field Aliases | Enums
ed_cabinet | Design | TEXT | 64 | Design | 1 Way
2 Way
3 Way
4 Way
5 Way
6 Way
Others
ed_cabinet | tp_manufac | TEXT | 128 | Manufacturer Name
ed_cabinet | rated_volt | TEXT | 64 | Rated Voltage | 15 kA
25 kA
35 kA
Unknown
ed_cabinet | tp_serialn | TEXT | 12 | Serial Number
ed_cabinet | Status | TEXT | 64 | Status | Existing
Abandoned
Proposed Install
ed_cabinet | tp_sub_typ | TEXT | 64 | Sub Type | Air Circuit Breaker
Meter Panel
Others
SFU Panel
ed_pole | tp_anti_cl | TEXT | 64 | Anti Climbing device? | Yes
No
ed_pole | tp_any_oth | TEXT | 64 | Any Other Cable?
ed_pole | tp_cable_r | TEXT | 64 | Cable Raising/Termination? | Yes
No
ed_pole | tp_composi | TEXT | 64 | Composite Type | EHV
EHV + HV
EHV + HV + LV
EHV + HV + MV
EHV + HV + MV + LV
EHV + LV
HV
HV + HV
HV + LV
HV + MV
HV + MV + LV
LV
LV + LV
MV
MV + LV
MV + MV
Unknown
ed_pole | tp_conditi | TEXT | 64 | Condition of Pole | Good
Needs Attention
Very Bad
ed_pole | tp_couping | TEXT | 64 | Couping? | Yes
No
ed_pole | tp_cross_a | TEXT | 64 | Cross Arm | Cantilever
Horizontal Cross Arm
Mixed
None
V Cross arm
V Cross arm-Vertical Configuration
Vertical Configuration
Not Applicable
ed_pole | tp_cut_poi | TEXT | 64 | Cut Point? | Yes
No
ed_pole | tp_danger | TEXT | 64 | Danger Board Status? | Yes
No
ed_pole | tp_dimensi | TEXT | 64 | Dimensions | 100x116
125x75
150x150
152x160
150x75
200x100
200x150
200x200
75 lbs
90 lbs
110 lbs
Unknown
ed_pole | tp_earthin | TEXT | 64 | Earthing Condition? | Good
Needs Attention
Very Bad
ed_pole | tp_extensi | TEXT | 64 | Extension
ed_pole | tp_feed_co | TEXT | 64 | Feeder Code
ed_pole | tp_hv_insu | TEXT | 64 | HV Insulator Type | AB cable Dead End clamp
AB cable Suspension clamp
Mixed
Neutral Conductor Binding
Pin
Shackle
Shackle+Pin
Disc
Disc+Pin
Not Applicable
ed_pole | tp_insulat | TEXT | 64 | Insulator Material | Glass
Polymer
Polymer+Porcelain
Porcelain
Not Applicable
ed_pole | tp_jumper | TEXT | 64 | Jumper Connected | Yes
No
ed_pole | tp_la_prov | TEXT | 64 | LA Provided? | Yes
No
ed_pole | tp_lt_box | TEXT | 64 | LT Box Available? | Yes
No
ed_pole | tp_lv_insu | TEXT | 64 | LV Insulator Type | AB cable Dead End clamp
AB cable Suspension clamp
Mixed
Neutral Conductor Binding
Pin
Shackle
Shackle+Pin
Disc
Disc+Pin
Not Applicable
ed_pole | Material | TEXT | 64 | Material | Concrete
GI
RS Joist
Rail
Wood
WPB
Steel Tubular
ed_pole | tp_mv_insu | TEXT | 64 | MV Insulator Type | AB cable Dead End clamp
AB cable Suspension clamp
Mixed
Neutral Conductor Binding
Pin
Shackle
Shackle+Pin
Disc
Disc+Pin
Not Applicable
ed_pole | tp_no_of_b | LONG | 8 | No of Branches
ed_pole | tp_no_of_h | LONG | 8 | No of HV Circuits
ed_pole | tp_no_of_l | LONG | 8 | No of LV Circuits
ed_pole | tp_no_of_m | LONG | 8 | No of MV Circuits
ed_pole | tp_no_serv | LONG | 8 | No of Service Lines
ed_pole | tp_no_stwr | LONG | 8 | No of Stay Wires
ed_pole | tp_no_stdp | LONG | 8 | No of Stud Poles
ed_pole | tp_pole_he | LONG | 8 | Pole Height | 8
9
10
11
12
13
15
ed_pole | tp_pole_pa | TEXT | 64 | Pole Paint Code
ed_pole | tp_road_cr | TEXT | 64 | Road Cross Guarding? | Yes
No
ed_pole | Status | TEXT | 64 | Status | Existing
Abandoned
Proposed Install
ed_pole | tp_strlgt | TEXT | 64 | Street Light Type | Bulb
CFL
LED
HPMV
HPSV
Tubelight
Unknown
ed_pole | tp_structu | TEXT | 64 | Structure Type | Double Pole
Eight Pole
Four Pole
Single Pole
Six Pole
Triple Pole
Wall Bracket
H Type-Tower
Lattice-Tower
M Type-Tower
eo_cable_segment_inst | tp_cable_t | TEXT | 64 | Cable Type | ABC
PVC
XLPE
eo_cable_segment_inst | Status | TEXT | 64 | Lifecycle Status | Existing
Abandoned
Proposed Install
eo_cable_segment_inst | Material | TEXT | 64 | Material | AL
CU
eo_cable_segment_inst | mounting | TEXT | 64 | Mounting | Overhead
Underground
eo_cable_segment_inst | nominal_vo | TEXT | 64 | Nominal Voltage (P-P) | 240.000 V
415.000 V
11.000 kV
33.000 kV
eo_cable_segment_inst | usage_cab | TEXT | 64 | Usage | EHV Feeder
HV Feeder
Jumper
LV Feeder
MV Feeder
eo_composite_switch | tp_ct_prim | TEXT | 64 | CT Primary
eo_composite_switch | tp_ct_seco | TEXT | 64 | CT Secondary
eo_composite_switch | tp_date_ma | DATE | 64 | Date Manufactured
eo_composite_switch | device_typ | TEXT | 64 | Device Type | Distribution Panel
Link Box
Ring Main Unit
Unknown
eo_composite_switch | tp_feed_co | TEXT | 64 | Feeder Code
eo_composite_switch | tp_install | TEXT | 64 | Installation Type | In Door
Out Door
Combination
eo_composite_switch | Status | TEXT | 64 | Lifecycle Status | Existing
Abandoned
Proposed Install
eo_composite_switch | tp_mechani | TEXT | 64 | Mechanism | Compressor
Electronic
Hydraulic
Manual
Motarised
Others
eo_composite_switch | tp_motoriz | TEXT | 64 | Motorized? | Yes
No
eo_composite_switch | mounting | TEXT | 64 | Mounting | Overhead
Underground
eo_composite_switch | tp_name | TEXT | 254 | Name
eo_composite_switch | tp_serialn | TEXT | 12 | Serial Number
eo_composite_switch | tp_sub_mou | TEXT | 64 | Sub Mounting | Plinth
Pole
Lattice Welded
Others
eo_isolating_eqpt_inst | tp_bypass | TEXT | 64 | Bypass? | Yes
No
eo_isolating_eqpt_inst | device_typ | TEXT | 64 | Device Type | Circuit Breaker
Load Break Switch
Fuse
Switch
Others
eo_isolating_eqpt_inst | gang_opera | TEXT | 64 | Gang Operated? | Yes
No
eo_isolating_eqpt_inst | Status | TEXT | 64 | Lifecycle Status | Existing
Abandoned
Proposed Install
eo_isolating_eqpt_inst | tp_mechani | TEXT | 64 | Mechanism | Electronic
Manual
Motarised
Others
eo_isolating_eqpt_inst | tp_mig_nor | TEXT | 64 | Mig Normal Status | Open
Closed
eo_isolating_eqpt_inst | nominal_vo | TEXT | 64 | Nominal Voltage (P-P) | 240.000 V
415.000 V
11.000 kV
33.000 kV
eo_isolating_eqpt_inst | tp_sub_typ | TEXT | 64 | Sub Type | Air Break Switch
Isolator
Drop out
Horn Gap
Isolator With Earth Switch
Isolator Without Earth Switch
Kit Kat
Wire fuse
MCB
MCCB
ACB
SF6
Vacuum
Others
eo_measuring_eqpt_inst | tp_accurac | DOUBLE | 8 | Accuracy Class
eo_measuring_eqpt_inst | tp_burden | DOUBLE | 8 | Burden
eo_measuring_eqpt_inst | tp_ct_prim | LONG | 8 | CT Primary
eo_measuring_eqpt_inst | tp_ct_seco | LONG | 8 | CT Secondary
eo_measuring_eqpt_inst | device_typ | TEXT | 64 | Device Type | CTPT Unit
Current Transformer
Voltage Transformer
eo_measuring_eqpt_inst | tp_earthin | TEXT | 64 | Earthing? | Yes
No
eo_measuring_eqpt_inst | Status | TEXT | 64 | Lifecycle Status | Existing
Abandoned
Proposed Install
eo_measuring_eqpt_inst | tp_manufac | TEXT | 64 | Manufacturer Name
eo_measuring_eqpt_inst | tp_meter_n | TEXT | 64 | Meter Number
eo_measuring_eqpt_inst | tp_pt_prim | LONG | 8 | PT Primary
eo_measuring_eqpt_inst | tp_pt_seco | LONG | 8 | PT Secondary
eo_measuring_eqpt_inst | serial_num | TEXT | 12 | Serial Number
eo_measuring_eqpt_inst | tp_sub_typ | TEXT | 64 | Sub Type | Air
Epoxy Cast Type
Oil
Unknown
eo_meter | tp_amr_ins | TEXT | 64 | AMR Installed? | Yes
No
eo_meter | tp_amr_mod | TEXT | 12 | AMR Modem Serial Number
eo_meter | tp_com_prt | TEXT | 64 | Communication Port | Optical
PIN
Unknown
eo_meter | tp_com_typ | TEXT | 64 | Communication Type | DLMS
Non-DLMS
Unknown
eo_meter | tp_ct_rati | TEXT | 64 | CT Ratio
eo_meter | tp_display | TEXT | 64 | Display Condition? | Broken
Fogged
Good
Needs Attention
OK
Very Bad
eo_meter | tp_functio | TEXT | 64 | Function | Boundary Meter
DT Meter
Feeder Meter
Others
Street Light
Unknown
eo_meter | Status | TEXT | 64 | Lifecycle Status | Existing
Abandoned
Proposed Install
eo_meter | tp_manufac | TEXT | 128 | Manufacturer Name
eo_meter | tp_mechani | TEXT | 64 | Mechanism | Electro Mechanical
Electronic
Electrostatic
Mechanical
Others
Unknown
eo_meter | tp_meter_b | TEXT | 64 | Meter Box | Available
Damaged
Not Available
eo_meter | nominal_vo | TEXT | 64 | Nominal Voltage (P-P) | 240.000 V
415.000 V
11.000 kV
33.000 kV
eo_meter | owner_name | TEXT | 64 | Owner Name | Customer
Electric Utility-TPSODL
eo_meter | tp_pt_rati | TEXT | 64 | PT Ratio
eo_meter | serial_num | TEXT | 12 | Serial Number
eo_meter | tp_sub_typ | TEXT | 64 | Sub Type | CT
CT/PT
eo_meter | tp_type | TEXT | 64 | Type | Smart Meter
Standard Meter
eo_meter | tp_sc_numb | TEXT | 254 | SC Number
eo_power_xfrmr_inst | tp_cooling | TEXT | 64 | Cooling Type | ONAF
ONAN
Others
Unknown
eo_power_xfrmr_inst | tp_core | TEXT | 64 | Core | Amorphous
Copper
Crgo
Iron
Others
Shell
Unknown
eo_power_xfrmr_inst | device_typ | TEXT | 64 | Device Type | Distribution Transformer
Power Transformer
Station Auxilary Transformer
eo_power_xfrmr_inst | tp_hvds | TEXT | 64 | HVDS? | Yes
No
eo_power_xfrmr_inst | tp_install | TEXT | 64 | Installation Type | In Door
Out Door
Combination
eo_power_xfrmr_inst | tp_la_prov | TEXT | 64 | LA Provided? | Yes
No
eo_power_xfrmr_inst | Status | TEXT | 64 | Lifecycle Status | Existing
Abandoned
Proposed Install
eo_power_xfrmr_inst | tp_manufac | TEXT | 128 | Manufacturer Name
eo_power_xfrmr_inst | tp_meter_n | TEXT | 64 | Meter Number
eo_power_xfrmr_inst | tp_meterin | TEXT | 64 | Metering Type | HV Metering
LV Metering
MV Metering
NA
eo_power_xfrmr_inst | mounting | TEXT | 64 | Mounting | Overhead
Underground
eo_power_xfrmr_inst | Name | TEXT | 24 | Name
eo_power_xfrmr_inst | tp_neutral | TEXT | 64 | Neutral Earthing Type | Conductor
GI Flat
Not Available
Others
eo_power_xfrmr_inst | no_load_lo | SHORT | 8 | No Load Loss
eo_power_xfrmr_inst | tp_numbert | LONG | 8 | Number of Taps
eo_power_xfrmr_inst | oil_quanti | FLOAT | 8 | Oil Quantity
eo_power_xfrmr_inst | tp_operati | SHORT | 8 | Operating KVA
eo_power_xfrmr_inst | owner_name | TEXT | 64 | Owner Name | Customer
Electric Utility-TPSODL
eo_power_xfrmr_inst | source_nom | TEXT | 64 | Primary Nominal Voltage | 240.000 V
415.000 V
11.000 kV
33.000 kV
eo_power_xfrmr_inst | tp_primary | TEXT | 64 | Primary Side Protection | Breaker
Fuse
Fuse+Breaker
Isolator
Isolator+Breaker
Isolator+Fuse
Isolator+Fuse+Breaker
eo_power_xfrmr_inst | load_nomin | TEXT | 64 | Secondary Nominal Voltage | 240.000 V
415.000 V
11.000 kV
33.000 kV
eo_power_xfrmr_inst | tp_seconda | TEXT | 64 | Secondary Side Protection | Breaker
Fuse
Fuse+Breaker
eo_power_xfrmr_inst | serial_num | TEXT | 12 | Serial Number
eo_power_xfrmr_inst | tp_star_ra | TEXT | 64 | Star Rating | 1 Star
2 Star
3 Star
4 Star
5 Star
Unknown
eo_power_xfrmr_inst | tp_sub_mou | TEXT | 64 | Sub Mounting | Plinth
Pole
Lattice Welded
Others
eo_power_xfrmr_inst | tp_sub_typ | TEXT | 64 | Sub Type | Dry Type
Oil Cooled
eo_power_xfrmr_inst | tap_cha_mk | TEXT | 64 | Tap Changer Make
eo_power_xfrmr_inst | tap_cha_ps | TEXT | 64 | Tap Changer Present Position
eo_power_xfrmr_inst | tap_cha_sr | TEXT | 12 | Tap Changer Serial Number
eo_power_xfrmr_inst | total_weig | FLOAT | 8 | Total Weight
eo_power_xfrmr_inst | trprt_weig | FLOAT | 8 | Transport weight
eo_power_xfrmr_inst | vector_grp | TEXT | 64 | Vector Group | Dyn11
Banked
Dd0
Dd6
Dz0
Dz6
YnAoOd11
Ynd11
Ynyn0
Yy0
Yy6
Yyy
Yz11
Not Available
eo_power_xfrmr_inst | wgt_cr_wnd | FLOAT | 8 | Weight Core and Winding
eo_power_xfrmr_inst | wgt_of_oil | FLOAT | 8 | Weight of Oil
eo_power_xfrmr_inst | tp_conditi | TEXT | 64 | Xfrmr Condition | Good
Needs Attention
Very Bad
eo_protective_eqpt_inst | device_typ | TEXT | 64 | Device Type | Fault Pass Indicator
Lightining Arrester
Relay
eo_protective_eqpt_inst | tp_earthin | TEXT | 64 | Earthing? | Yes
No
eo_protective_eqpt_inst | Status | TEXT | 64 | Lifecycle Status | Existing
Abandoned
Proposed Install
eo_protective_eqpt_inst | tp_materia | TEXT | 64 | Material | Anti-Rust FPI
NA
Polymer-LA
Porcelain-LA
Unknown
eo_protective_eqpt_inst | nominal_vo | TEXT | 64 | Nominal Voltage (P-P) | 240.000 V
415.000 V
11.000 kV
33.000 kV
eo_wire_segment_inst | tp_wire_co | TEXT | 64 | Configuration | Horizontal
Triangular
Vertical
eo_wire_segment_inst | Status | TEXT | 64 | Lifecycle Status | Existing
Abandoned
Proposed Install
eo_wire_segment_inst | Material | TEXT | 64 | Material | AL
CU
eo_wire_segment_inst | nominal_vo | TEXT | 64 | Nominal Voltage (P-P) | 240.000 V
415.000 V
11.000 kV
33.000 kV
eo_wire_segment_inst | tp_type | TEXT | 64 | Type | Dog
Doubledog
Goat
Mole
Panther
Rabbit
Racoon
Squirrel
Weasel
Wolf
Zebra
Coyote
Unknown
eo_wire_segment_inst | usage_wir | TEXT | 64 | Usage | EHV Feeder
HV Feeder
Jumper
LV Feeder
MV Feeder
et_pole | tp_anti_cl | TEXT | 64 | Anti Climbing device? | Yes
No
et_pole | tp_any_oth | TEXT | 64 | Any Other Cable?
et_pole | tp_cable_r | TEXT | 64 | Cable Raising/Termination? | Yes
No
et_pole | tp_composi | TEXT | 64 | Composite Type | EHV
EHV + HV
EHV + HV + LV
EHV + HV + MV
EHV + HV + MV + LV
EHV + LV
HV
HV + HV
HV + LV
HV + MV
HV + MV + LV
LV
LV + LV
MV
MV + LV
MV + MV
Unknown
et_pole | tp_conditi | TEXT | 64 | Condition of Pole | Good
Needs Attention
Very Bad
et_pole | tp_couping | TEXT | 64 | Couping? | Yes
No
et_pole | tp_cross_a | TEXT | 64 | Cross Arm | Cantilever
Horizontal Cross Arm
Mixed
None
V Cross arm
V Cross arm-Vertical Configuration
Vertical Configuration
et_pole | tp_cut_poi | TEXT | 64 | Cut Point? | Yes
No
et_pole | tp_dangerb | TEXT | 64 | Danger Board Status? | Yes
No
et_pole | tp_dimensi | TEXT | 64 | Dimensions | 100x116
125x75
150x150
152x160
150x75
200x100
200x150
200x200
75 lbs
90 lbs
110 lbs
Unknown
et_pole | tp_earthin | TEXT | 64 | Earthing Condition? | Good
Needs Attention
Very Bad
et_pole | tp_hv_insu | TEXT | 64 | HV Insulator Type | AB cable Dead End clamp
AB cable Suspension clamp
Mixed
Neutral Conductor Binding
Pin
Shackle
Shackle+Pin
Disc
Disc+Pin
Not Applicable
et_pole | tp_insulat | TEXT | 64 | Insulator Material | Glass
Polymer
Polymer+Porcelain
Porcelain
et_pole | tp_jumper | TEXT | 64 | Jumper Connected | Yes
No
et_pole | tp_la_prov | TEXT | 64 | LA Provided? | Yes
No
et_pole | tp_lt_box | TEXT | 64 | LT Box Available? | Yes
No
et_pole | tp_lv_insu | TEXT | 64 | LV Insulator Type | AB cable Dead End clamp
AB cable Suspension clamp
Mixed
Neutral Conductor Binding
Pin
Shackle
Shackle+Pin
Disc
Disc+Pin
Not Applicable
et_pole | Material | TEXT | 64 | Material | Concrete
GI
RS Joist
Rail
Wood
WPB
Steel Tubular
et_pole | tp_mv_insu | TEXT | 64 | MV Insulator Type | AB cable Dead End clamp
AB cable Suspension clamp
Mixed
Neutral Conductor Binding
Pin
Shackle
Shackle+Pin
Disc
Disc+Pin
Not Applicable
et_pole | tp_no_of_b | LONG | 8 | No of Branches
et_pole | tp_no_of_h | LONG | 8 | No of HV Circuits
et_pole | tp_no_of_l | LONG | 8 | No of LV Circuits
et_pole | tp_no_of_m | LONG | 8 | No of MV Circuits
et_pole | tp_no_serv | LONG | 8 | No of Service Lines
et_pole | tp_no_stwr | LONG | 8 | No of Stay Wires
et_pole | tp_no_stdp | LONG | 8 | No of Stud Poles
et_pole | tp_nominal | TEXT | 64 | Nominal Voltage | 240.000 V
415.000 V
11.000 kV
33.000 kV
et_pole | tp_pole_he | LONG | 8 | Pole Height | 8
9
10
11
12
13
15
et_pole | tp_pole_pa | TEXT | 64 | Pole Paint Code
et_pole | tp_road_cr | TEXT | 64 | Road Cross Guarding? | Yes
No
et_pole | Status | TEXT | 64 | Status | Existing
Abandoned
Proposed Install
et_pole | tp_strlgt | TEXT | 64 | Street Light Type | Bulb
CFL
LED
HPMV
HPSV
Tubelight
Unknown
et_pole | tp_structu | TEXT | 64 | Structure Type | Double Pole
Eight Pole
Four Pole
Single Pole
Six Pole
Triple Pole
Wall Bracket
H Type-Tower
Lattice-Tower
M Type-Tower
et_tower | tp_anti_cl | TEXT | 64 | Anti Climbing device? | Yes
No
et_tower | tp_any_oth | TEXT | 64 | Any Other Cable?
et_tower | tp_composi | TEXT | 64 | Composite Type | EHV
EHV + HV
EHV + HV + LV
EHV + HV + MV
EHV + HV + MV + LV
EHV + LV
HV
HV + HV
HV + LV
HV + MV
HV + MV + LV
LV
LV + LV
MV
MV + LV
MV + MV
Unknown
et_tower | tp_conditi | TEXT | 64 | Condition of Pole | Good
Needs Attention
Very Bad
et_tower | tp_couping | TEXT | 64 | Couping? | Yes
No
et_tower | tp_cut_poi | TEXT | 64 | Cut Point? | Yes
No
et_tower | tp_dangerb | TEXT | 64 | Danger Board Status? | Yes
No
et_tower | tp_earthin | TEXT | 64 | Earthing Condition? | Good
Needs Attention
Very Bad
et_tower | tp_hv_insu | TEXT | 64 | HV Insulator Type | AB cable Dead End clamp
AB cable Suspension clamp
Mixed
Neutral Conductor Binding
Pin
Shackle
Shackle+Pin
Disc
Disc+Pin
Not Applicable
et_tower | tp_insulat | TEXT | 64 | Insulator Material | Glass
Polymer
Polymer+Porcelain
Porcelain
et_tower | tp_jumper | TEXT | 64 | Jumper Connected | Yes
No
et_tower | tp_la_prov | TEXT | 64 | LA Provided? | Yes
No
et_tower | tp_lt_box | TEXT | 64 | LT Box Available? | Yes
No
et_tower | tp_lv_insu | TEXT | 64 | LV Insulator Type | AB cable Dead End clamp
AB cable Suspension clamp
Mixed
Neutral Conductor Binding
Pin
Shackle
Shackle+Pin
Disc
Disc+Pin
Not Applicable
et_tower | Material | TEXT | 64 | Material | Concrete
GI
RS Joist
Rail
Wood
WPB
Steel Tubular
et_tower | tp_mv_insu | TEXT | 64 | MV Insulator Type | AB cable Dead End clamp
AB cable Suspension clamp
Mixed
Neutral Conductor Binding
Pin
Shackle
Shackle+Pin
Disc
Disc+Pin
Not Applicable
et_tower | tp_no_of_h | LONG | 8 | No of HV Circuits
et_tower | tp_no_of_l | LONG | 8 | No of LV Circuits
et_tower | tp_no_of_m | LONG | 8 | No of MV Circuits
et_tower | tp_no_serv | LONG | 8 | No of Service Lines
et_tower | tp_no_stwr | LONG | 8 | No of Stay Wires
et_tower | tp_nominal | TEXT | 64 | Nominal Voltage | 240.000 V
415.000 V
11.000 kV
33.000 kV
et_tower | tp_pole_he | LONG | 8 | Pole Height | 8
9
10
11
12
13
15
et_tower | tp_pole_pa | TEXT | 64 | Pole Paint Code
et_tower | tp_road_cr | TEXT | 64 | Road Cross Guarding? | Yes
No
et_tower | Status | TEXT | 64 | Status | Existing
Abandoned
Proposed Install
et_tower | tp_strlgt | TEXT | 64 | Street Light Type | Bulb
CFL
LED
HPMV
HPSV
Tubelight
Unknown
et_tower | tp_structu | TEXT | 64 | Structure Type | Double Pole
Eight Pole
Four Pole
Single Pole
Six Pole
Triple Pole
Wall Bracket
H Type-Tower
Lattice-Tower
M Type-Tower
sub_substation | tp_civil_t | TEXT | 64 | Civil Type | Brick Masoned
RCC Structure
Steel Pole Structure
Not Available
sub_substation | tp_dss_cod | TEXT | 64 | DSS Code
sub_substation | tp_earthin | TEXT | 64 | Earthing Condition? | Good
Needs Attention
Very Bad
sub_substation | tp_fence_t | TEXT | 64 | Fence Type | Barbered Wire
Brick Masoned
Chainlink
FRP
Not Available
sub_substation | tp_install | TEXT | 64 | Installation Type | In Door
Out Door
Combination
sub_substation | tp_migrati | TEXT | 64 | Migration Unique Id
sub_substation | Name | TEXT | 16 | Name
sub_substation | Status | TEXT | 64 | Status | Existing
Abandoned
Proposed Install
sub_substation | tp_sub_mou | TEXT | 64 | Sub Mounting | Plinth
Pole
Lattice Welded
Others
sub_substation | Type | TEXT | 64 | Type | Distribution Substation
Grid Substation
Primary Substation
Unknown