## Berhampur Circle
Sl. No | Type of Material | SITC/ ITC | Description of materials | Unit | Berhampur Circle | Supply |  |  | Erection / Service |  |  | All Inclusive Unit rate (Rs.) | Total All Inclusive Value (Rs.) | HSN / SAC Code
[6 empty] | Unit Ex-work Price (Rs.) | GST (Rs.) | Unit Supply Rate including GST (Rs.) | Unit Erection /service Charge (Rs.) | GST (Rs.) | Unit Erection Price including GST (Rs.)
[5 empty] | A |  |  | B |  |  | C | D = B + C | E = A x D
1 | PSC Pole | ITC | 9 mtr long 300kg PSC pole | No | 157 | NA | NA | NA
2 |  | ITC | 8mtr long 200kg PSC pole | No | 123 | NA | NA | NA
3 | Joist Pole | ITC | 13 mtr 160X 160 WPB (30.4kg.mtr) | No | 0 | NA | NA | NA
4 |  | ITC | 116X100mm RS joist (09 Mtr long)23.0kg/Mtr (Each 207kg) | No. | 0 | NA | NA | NA
5 |  | ITC | 8 Mtr RS Joist pole (125x70 mm) | No | 0 | NA | NA | NA
6 | Conductor | ITC | 55 mm2 AAAC Conductor | K.M. | 24.04 | NA | NA | NA
7 |  | ITC | 11kv 1C 99sqmm covered conductor | Km | 0 | NA | NA | NA
8 | Transformer | ITC | 16 KVA/11/0.25KV (Al)Transformer, BIS Energy level-II | No | 1 | NA | NA | NA
9 |  | ITC | 25 KVA,11/0.4KV Transformer | No | 4 | NA | NA | NA
10 |  | ITC | 63 KVA,11/0.4KV Transformer | No | 0 | NA | NA | NA
11 |  | ITC | 100 KVA,11/0.4KV Transformer | No | 0 | NA | NA | NA
12 | AB Cable | ITC | AB cable (3x50+1X35) | Km | 0 | NA | NA | NA
13 |  | ITC | AB cable (3x35+1X25) | Km | 5 | NA | NA | NA
14 | LT Cable | ITC | 1CX 95 mm² LT XLPE Cable | Mt | 220 | NA | NA | NA
15 |  | ITC | 1CX 150 mm² LT XLPE Cable | Mt | 0 | NA | NA | NA
16 | LT Distribution Box | ITC | LT Distribution box with MCCB for 16KVA S/S | No | 1 | NA | NA | NA
17 |  | ITC | LT Distribution box includding Kit Kat fuse for 25KVA | No | 4 | NA | NA | NA
18 |  | ITC | LT Distribution box includding Kit Kat fuse for 63 KVA | No | 0 | NA | NA | NA
19 |  | ITC | 100 KVA LT Distribution box includding Kit Kat fuse | No | 0 | NA | NA | NA
20 | 11KV Accescories | SITC | 11KV V Cross Arm , 10.2Kg each for pin point | No | 127
21 |  | SITC | Back Clamp for "V" Cross Arms | No | 127
22 |  | SITC | GI Back Clamp for 11 KV V Cros Arm (0.85 Kg each) | No | 0
23 |  | SITC | F Clamp(Pole top Bracket) | No | 123
24 |  | SITC | 11Kv Pin Insulator polymer | No | 440
25 |  | SITC | 11 kv Disc Insulator(B&S) 45 KN polymer | No | 169
26 |  | SITC | Disc Insulator B&S 90 KN (Polymer) | No | 0
27 |  | SITC | Hard Ware Fittings( B&S) 3 bolted | No | 171
28 |  | SITC | H/W fitting B&S type 90 KN 4 Bolt | No | 0
29 |  | SITC | RCC base plate | No | 280
30 | CHANNEL & ANGLES | SITC | 100X50X6 mm, Channel St Cross arm 1.2Mtr @ 9.2Kg/mtr(2nos./CP+2 for tapping)) | Kg | 676.08
31 |  | SITC | 100X50X6 mm, Channel top piece 0.25Mtr @ 9.2Kg/mtr(2nos./CP+2 for tapping)) | Kg | 133
32 |  | SITC | Top Pressure channel 100x50x6mm 2.8mtr long ,2nos(9.2kg/Mtr) | Kg | 206.08
33 |  | SITC | HG Fuse and AB Switch mounting channel (75x40x6mm, 2.8Mtr,4Nos)(6.8Kg/Mtr) | Kg | 304.64
34 |  | SITC | Cuntilever for supporting HG Fuse 75x40x6mm channel 1Mtr, 2Nos(6.8Kg/Mtr) | Kg | 54.4
35 |  | SITC | Cuntilever Angle for supporting HG Fuse 50X50X6mm Angle (1.5Mtr long, 2Nos) (4.5Kg/Mtr) | Kg | 54
36 |  | SITC | Transformer Belting 50x50x6mm angle, 2.8mtr long,2nos(4.5kg/mtr) with side angle (total 7mtr long) | Kg | 126
37 |  | SITC | Angle for mounting LT Distribution box 50x50x6mm 1mtr long ,2nos(4.5Kg/Mtr) | Kg | 36
38 |  | SITC | Transformer mounting channel 100x50x6mm 2.8mtr long ,2nos(9.2kg/Mtr) | Kg | 206.08
39 |  | SITC | Transformer Mounting Bracket for 16/10KVA 11/0.23 KV T/F | No. | 1
40 |  | SITC | AB switch mounting bracket 75x40x6 mm 6mtr. Long (6.8Kg/Mtr.) | K.g. | 40.8
41 |  | SITC | Cantilever for supporting A.B. Switch Arm 50x40x6 mm Angle-3.5 mtr. Long (4.5 K.g./mtr.) | K.g. | 15.75
42 |  | SITC | Horn Gap Fuse mounting Channel 75x40x6mm 2.2Mtr long (6.8 K.g./mtr.) | K.g. | 14.96
43 | AB Switch And HG Fuse | ITC | 11KV AB Switch (3Pole) 200 A - Horizontal | Set | 5 | NA | NA | NA
44 |  | ITC | 11 kv H.G fuse 3pole(200A) | Set | 5 | NA | NA | NA
45 | Lightening Arrester | ITC | Lightning arrester 9KV, 10KA station class | No | 2 | NA | NA | NA
46 |  | ITC | 11 KV Lighting Arrestor(12KV,10KA) | No | 12 | NA | NA | NA
47 | Earthing | SITC | G.I pipe Earthing 40 mm dia medium gauge(3.25mm thick ness) 3 mtr long | No | 23
48 |  | SITC | Earthing Coil | No | 271
49 | HT Stay | SITC | H.T. Stay set(Complete) | Set | 70
50 |  | SITC | Stay insulator | No | 70
51 |  | SITC | Stay Clamp | Pair | 70
52 |  | SITC | 7/10 (3.25mm dia per strand) SWG GI stay wire(2.19Mtr/Kg) (10 kg for each stay set) | Kg | 688
53 | LT Stay | SITC | Stay Clamp (1.4 KG/Pair) | Pair | 41
54 |  | SITC | Stay Insulator | No | 41
55 |  | SITC | Stay set complete | Set | 41
56 |  | SITC | 7/12 GI stay wire(3.27Mtr/Kg) | Kg | 318
57 | LT Accessories | SITC | Suspenssion clamp I Hook | No | 102
58 |  | SITC | Dead end clamp I hook | No | 44
59 | Other Accessories | SITC | PG clamp 55mm² AAAC | No | 170
60 |  | SITC | PG Clamp for 80 mm2AAA conductor | No | 0
61 |  | SITC | 25x4 mm G.I flat for earthing | kg | 230
62 |  | SITC | Ms Bolts, Nuts & washers | Kg | 341
63 |  | SITC | GI Nut, Bolt & washer | Kg | 0
64 |  | SITC | Danger Plate | No | 158
65 |  | SITC | G.I barbered wire, 3kg/pole | kg | 471
66 |  | SITC | Clamp,connector and jumpering material | Ls | 4
67 |  | SITC | Sundries(Paint, danger board, anticlimbing device, binding tape etc) | LS | 19
68 | Civil | SITC | Material for masonary work for salt,charcoal for earthing earth pit and cement plate cover for earthing | Ls | 23
69 |  | SITC | Cement Concrete for Stay Anchor plate CC foundation 1:3:6 size by using 4cm size HBG metal=(0.45 x0.45x1.5)mtr =0.3037Cum. @4158.84=1263.03 or Rs. 1270.00 | No | 111
70 |  | SITC | Cement Concreting for support with C.C. 1:3:6 by using 4cm size HBG metal= (0.45x0.45x1.5) = 0.3037Cum @ 4158.84= 0.3037xRs.4185.84 =Rs.1263.03 or Rs.1270.00 | No | 280
71 |  | SITC | Fencing size 8'x12' with 10nos of RCC Piller and 3ply. GI barbed wire and Grill Gate & locking arrangement | No | 5
72 |  | SITC | Couping with C.C. 1:3:6 by using 12mm size hard broken granite chips =0.3Mtrx0.3Mtrx0.45Mtr =0.0405Cum @ Rs.4754.71/Cum =0.405xRs.4754.71=Rs.192.57 or Rs.193.00 | No | 0
73 | Service Connection | ITC | 1Ph Static Meter with TP Box 10-60 Amps (OSM) | Nos. | 796 | NA | NA | NA
74 |  | SITC | 2C X 4 sq.mm PVC wire | Mtr. | 21492
75 |  | SITC | Bend Pipe | No. | 796
76 |  | SITC | MCB/DP Switch 16/32 Amp 240V Surface Mounted | Nos. | 796
77 |  | SITC | 1.5 mmsq 2 Copper Multi Standard PVC Insulated Wire (10x2) | Mtr. | 3980
78 |  | SITC | 8"X6" Wooden / FRP Board | Nos. | 796
79 |  | SITC | Switch (5A) | Nos. | 1592
80 |  | SITC | 3 Pin socket (5A) | Nos. | 796
81 |  | SITC | 3" Dia. Wooden / FRP Round Board | Nos. | 796
82 |  | SITC | Angle Holder (5 Amp.) | Nos. | 796
83 |  | SITC | LED Lamp (9 watt) | Nos. | 796
84 |  | SITC | Coil Earthing (No. 6 GI Wire of 40 MM dia. Coil) | Nos. | 796
85 |  | SITC | No. 10 GI Wire (75 gm/Mtr.) (insulated) | Kg | 1592
86 |  | SITC | Nail | Nos. | 7960
87 |  | SITC | Plastic clip with fixing nail | Nos. | 4776
Total (Rs.)

## Bhanjanagar Circle
Sl. No | Type of Material | SITC/ ITC | Description of materials | Unit | Bhanjanagar Circle | Supply |  |  | Erection / Service |  |  | All Inclusive Unit rate (Rs.) | Total All Inclusive Value (Rs.) | HSN / SAC Code
[6 empty] | Unit Ex-work Price (Rs.) | GST (Rs.) | Unit Supply Rate including GST (Rs.) | Unit Erection /service Charge (Rs.) | GST (Rs.) | Unit Erection Price including GST (Rs.)
[5 empty] | A |  |  | B |  |  | C | D = B + C | E = A x D
1 | PSC Pole | ITC | 9 mtr long 300kg PSC pole | No | 4058 | NA | NA | NA
2 |  | ITC | 8mtr long 200kg PSC pole | No | 6755 | NA | NA | NA
3 | Joist Pole | ITC | 13 mtr 160X 160 WPB (30.4kg.mtr) | No | 1427 | NA | NA | NA
4 |  | ITC | 116X100mm RS joist (09 Mtr long)23.0kg/Mtr (Each 207kg) | No. | 0 | NA | NA | NA
5 |  | ITC | 8 Mtr RS Joist pole (125x70 mm) | No | 0 | NA | NA | NA
6 | Conductor | ITC | 55 mm2 AAAC Conductor | K.M. | 522.36 | NA | NA | NA
7 |  | ITC | 11kv 1C 99sqmm covered conductor | Km | 221 | NA | NA | NA
8 | Transformer | ITC | 16 KVA/11/0.25KV (Al)Transformer, BIS Energy level-II | No | 9 | NA | NA | NA
9 |  | ITC | 25 KVA,11/0.4KV Transformer | No | 297 | NA | NA | NA
10 |  | ITC | 63 KVA,11/0.4KV Transformer | No | 44 | NA | NA | NA
11 |  | ITC | 100 KVA,11/0.4KV Transformer | No | 0 | NA | NA | NA
12 | AB Cable | ITC | AB cable (3x50+1X35) | Km | 41 | NA | NA | NA
13 |  | ITC | AB cable (3x35+1X25) | Km | 166 | NA | NA | NA
14 | LT Cable | ITC | 1CX 95 mm² LT XLPE Cable | Mt | 17230 | NA | NA | NA
15 |  | ITC | 1CX 150 mm² LT XLPE Cable | Mt | 0 | NA | NA | NA
16 | LT Distribution Box | ITC | LT Distribution box with MCCB for 16KVA S/S | No | 9 | NA | NA | NA
17 |  | ITC | LT Distribution box includding Kit Kat fuse for 25KVA | No | 297 | NA | NA | NA
18 |  | ITC | LT Distribution box includding Kit Kat fuse for 63 KVA | No | 44 | NA | NA | NA
19 |  | ITC | 100 KVA LT Distribution box includding Kit Kat fuse | No | 0 | NA | NA | NA
20 | 11KV Accescories | SITC | 11KV V Cross Arm , 10.2Kg each for pin point | No | 4148
21 |  | SITC | Back Clamp for "V" Cross Arms | No | 2863
22 |  | SITC | GI Back Clamp for 11 KV V Cros Arm (0.85 Kg each) | No | 1285
23 |  | SITC | F Clamp(Pole top Bracket) | No | 4118
24 |  | SITC | 11Kv Pin Insulator polymer | No | 14344
25 |  | SITC | 11 kv Disc Insulator(B&S) 45 KN polymer | No | 4572
26 |  | SITC | Disc Insulator B&S 90 KN (Polymer) | No | 853
27 |  | SITC | Hard Ware Fittings( B&S) 3 bolted | No | 4576
28 |  | SITC | H/W fitting B&S type 90 KN 4 Bolt | No | 853
29 |  | SITC | RCC base plate | No | 10813
30 | CHANNEL & ANGLES | SITC | 100X50X6 mm, Channel St Cross arm 1.2Mtr @ 9.2Kg/mtr(2nos./CP+2 for tapping)) | Kg | 19516.72
31 |  | SITC | 100X50X6 mm, Channel top piece 0.25Mtr @ 9.2Kg/mtr(2nos./CP+2 for tapping)) | Kg | 3087
32 |  | SITC | Top Pressure channel 100x50x6mm 2.8mtr long ,2nos(9.2kg/Mtr) | Kg | 17568.32
33 |  | SITC | HG Fuse and AB Switch mounting channel (75x40x6mm, 2.8Mtr,4Nos)(6.8Kg/Mtr) | Kg | 25970.56
34 |  | SITC | Cuntilever for supporting HG Fuse 75x40x6mm channel 1Mtr, 2Nos(6.8Kg/Mtr) | Kg | 4637.6
35 |  | SITC | Cuntilever Angle for supporting HG Fuse 50X50X6mm Angle (1.5Mtr long, 2Nos) (4.5Kg/Mtr) | Kg | 4603.5
36 |  | SITC | Transformer Belting 50x50x6mm angle, 2.8mtr long,2nos(4.5kg/mtr) with side angle (total 7mtr long) | Kg | 10741.5
37 |  | SITC | Angle for mounting LT Distribution box 50x50x6mm 1mtr long ,2nos(4.5Kg/Mtr) | Kg | 3069
38 |  | SITC | Transformer mounting channel 100x50x6mm 2.8mtr long ,2nos(9.2kg/Mtr) | Kg | 17568.32
39 |  | SITC | Transformer Mounting Bracket for 16/10KVA 11/0.23 KV T/F | No. | 9
40 |  | SITC | AB switch mounting bracket 75x40x6 mm 6mtr. Long (6.8Kg/Mtr.) | K.g. | 367.2
41 |  | SITC | Cantilever for supporting A.B. Switch Arm 50x40x6 mm Angle-3.5 mtr. Long (4.5 K.g./mtr.) | K.g. | 141.75
42 |  | SITC | Horn Gap Fuse mounting Channel 75x40x6mm 2.2Mtr long (6.8 K.g./mtr.) | K.g. | 134.64
43 | AB Switch And HG Fuse | ITC | 11KV AB Switch (3Pole) 200 A - Horizontal | Set | 350 | NA | NA | NA
44 |  | ITC | 11 kv H.G fuse 3pole(200A) | Set | 350 | NA | NA | NA
45 | Lightening Arrester | ITC | Lightning arrester 9KV, 10KA station class | No | 18 | NA | NA | NA
46 |  | ITC | 11 KV Lighting Arrestor(12KV,10KA) | No | 1023 | NA | NA | NA
47 | Earthing | SITC | G.I pipe Earthing 40 mm dia medium gauge(3.25mm thick ness) 3 mtr long | No | 1732
48 |  | SITC | Earthing Coil | No | 11549
49 | HT Stay | SITC | H.T. Stay set(Complete) | Set | 2840
50 |  | SITC | Stay insulator | No | 2840
51 |  | SITC | Stay Clamp | Pair | 2840
52 |  | SITC | 7/10 (3.25mm dia per strand) SWG GI stay wire(2.19Mtr/Kg) (10 kg for each stay set) | Kg | 28363
53 | LT Stay | SITC | Stay Clamp (1.4 KG/Pair) | Pair | 2189
54 |  | SITC | Stay Insulator | No | 2189
55 |  | SITC | Stay set complete | Set | 2189
56 |  | SITC | 7/12 GI stay wire(3.27Mtr/Kg) | Kg | 17482
57 | LT Accessories | SITC | Suspenssion clamp I Hook | No | 5565
58 |  | SITC | Dead end clamp I hook | No | 2385
59 | Other Accessories | SITC | PG clamp 55mm² AAAC | No | 4581
60 |  | SITC | PG Clamp for 80 mm2AAA conductor | No | 853
61 |  | SITC | 25x4 mm G.I flat for earthing | kg | 17320
62 |  | SITC | Ms Bolts, Nuts & washers | Kg | 13751
63 |  | SITC | GI Nut, Bolt & washer | Kg | 1425
64 |  | SITC | Danger Plate | No | 5494
65 |  | SITC | G.I barbered wire, 3kg/pole | kg | 16450
66 |  | SITC | Clamp,connector and jumpering material | Ls | 341
67 |  | SITC | Sundries(Paint, danger board, anticlimbing device, binding tape etc) | LS | 796
68 | Civil | SITC | Material for masonary work for salt,charcoal for earthing earth pit and cement plate cover for earthing | Ls | 1732
69 |  | SITC | Cement Concrete for Stay Anchor plate CC foundation 1:3:6 size by using 4cm size HBG metal=(0.45 x0.45x1.5)mtr =0.3037Cum. @4158.84=1263.03 or Rs. 1270.00 | No | 5029
70 |  | SITC | Cement Concreting for support with C.C. 1:3:6 by using 4cm size HBG metal= (0.45x0.45x1.5) = 0.3037Cum @ 4158.84= 0.3037xRs.4185.84 =Rs.1263.03 or Rs.1270.00 | No | 12240
71 |  | SITC | Fencing size 8'x12' with 10nos of RCC Piller and 3ply. GI barbed wire and Grill Gate & locking arrangement | No | 350
72 |  | SITC | Couping with C.C. 1:3:6 by using 12mm size hard broken granite chips =0.3Mtrx0.3Mtrx0.45Mtr =0.0405Cum @ Rs.4754.71/Cum =0.405xRs.4754.71=Rs.192.57 or Rs.193.00 | No | 1427
73 | Service Connection | ITC | 1Ph Static Meter with TP Box 10-60 Amps (OSM) | Nos. | 7669 | NA | NA | NA
74 |  | SITC | 2C X 4 sq.mm PVC wire | Mtr. | 207063
75 |  | SITC | Bend Pipe | No. | 7669
76 |  | SITC | MCB/DP Switch 16/32 Amp 240V Surface Mounted | Nos. | 7669
77 |  | SITC | 1.5 mmsq 2 Copper Multi Standard PVC Insulated Wire (10x2) | Mtr. | 38345
78 |  | SITC | 8"X6" Wooden / FRP Board | Nos. | 7669
79 |  | SITC | Switch (5A) | Nos. | 15338
80 |  | SITC | 3 Pin socket (5A) | Nos. | 7669
81 |  | SITC | 3" Dia. Wooden / FRP Round Board | Nos. | 7669
82 |  | SITC | Angle Holder (5 Amp.) | Nos. | 7669
83 |  | SITC | LED Lamp (9 watt) | Nos. | 7669
84 |  | SITC | Coil Earthing (No. 6 GI Wire of 40 MM dia. Coil) | Nos. | 7669
85 |  | SITC | No. 10 GI Wire (75 gm/Mtr.) (insulated) | Kg | 15338
86 |  | SITC | Nail | Nos. | 76690
87 |  | SITC | Plastic clip with fixing nail | Nos. | 46014
Total (Rs.)

## Rayagada Circle
Sl. No | Type of Material | SITC/ ITC | Description of materials | Unit | Rayagada Circle | Supply |  |  | Erection / Service |  |  | All Inclusive Unit rate (Rs.) | Total All Inclusive Value (Rs.) | HSN / SAC Code
[6 empty] | Unit Ex-work Price (Rs.) | GST (Rs.) | Unit Supply Rate including GST (Rs.) | Unit Erection /service Charge (Rs.) | GST (Rs.) | Unit Erection Price including GST (Rs.)
[5 empty] | A |  |  | B |  |  | C | D = B + C | E = A x D
1 | PSC Pole | ITC | 9 mtr long 300kg PSC pole | No | 4576 | NA | NA | NA
2 |  | ITC | 8mtr long 200kg PSC pole | No | 3092 | NA | NA | NA
3 | Joist Pole | ITC | 13 mtr 160X 160 WPB (30.4kg.mtr) | No | 0 | NA | NA | NA
4 |  | ITC | 116X100mm RS joist (09 Mtr long)23.0kg/Mtr (Each 207kg) | No. | 620 | NA | NA | NA
5 |  | ITC | 8 Mtr RS Joist pole (125x70 mm) | No | 209 | NA | NA | NA
6 | Conductor | ITC | 55 mm2 AAAC Conductor | K.M. | 693.2 | NA | NA | NA
7 |  | ITC | 11kv 1C 99sqmm covered conductor | Km | 0 | NA | NA | NA
8 | Transformer | ITC | 16 KVA/11/0.25KV (Al)Transformer, BIS Energy level-II | No | 55 | NA | NA | NA
9 |  | ITC | 25 KVA,11/0.4KV Transformer | No | 160 | NA | NA | NA
10 |  | ITC | 63 KVA,11/0.4KV Transformer | No | 15 | NA | NA | NA
11 |  | ITC | 100 KVA,11/0.4KV Transformer | No | 2 | NA | NA | NA
12 | AB Cable | ITC | AB cable (3x50+1X35) | Km | 1 | NA | NA | NA
13 |  | ITC | AB cable (3x35+1X25) | Km | 102 | NA | NA | NA
14 | LT Cable | ITC | 1CX 95 mm² LT XLPE Cable | Mt | 9850 | NA | NA | NA
15 |  | ITC | 1CX 150 mm² LT XLPE Cable | Mt | 100 | NA | NA | NA
16 | LT Distribution Box | ITC | LT Distribution box with MCCB for 16KVA S/S | No | 55 | NA | NA | NA
17 |  | ITC | LT Distribution box includding Kit Kat fuse for 25KVA | No | 160 | NA | NA | NA
18 |  | ITC | LT Distribution box includding Kit Kat fuse for 63 KVA | No | 15 | NA | NA | NA
19 |  | ITC | 100 KVA LT Distribution box includding Kit Kat fuse | No | 2 | NA | NA | NA
20 | 11KV Accescories | SITC | 11KV V Cross Arm , 10.2Kg each for pin point | No | 4089
21 |  | SITC | Back Clamp for "V" Cross Arms | No | 4089
22 |  | SITC | GI Back Clamp for 11 KV V Cros Arm (0.85 Kg each) | No | 0
23 |  | SITC | F Clamp(Pole top Bracket) | No | 3430
24 |  | SITC | 11Kv Pin Insulator polymer | No | 13564
25 |  | SITC | 11 kv Disc Insulator(B&S) 45 KN polymer | No | 5313
26 |  | SITC | Disc Insulator B&S 90 KN (Polymer) | No | 0
27 |  | SITC | Hard Ware Fittings( B&S) 3 bolted | No | 5631
28 |  | SITC | H/W fitting B&S type 90 KN 4 Bolt | No | 0
29 |  | SITC | RCC base plate | No | 7668
30 | CHANNEL & ANGLES | SITC | 100X50X6 mm, Channel St Cross arm 1.2Mtr @ 9.2Kg/mtr(2nos./CP+2 for tapping)) | Kg | 21849.4
31 |  | SITC | 100X50X6 mm, Channel top piece 0.25Mtr @ 9.2Kg/mtr(2nos./CP+2 for tapping)) | Kg | 3675
32 |  | SITC | Top Pressure channel 100x50x6mm 2.8mtr long ,2nos(9.2kg/Mtr) | Kg | 9199.04
33 |  | SITC | HG Fuse and AB Switch mounting channel (75x40x6mm, 2.8Mtr,4Nos)(6.8Kg/Mtr) | Kg | 13480.32
34 |  | SITC | Cuntilever for supporting HG Fuse 75x40x6mm channel 1Mtr, 2Nos(6.8Kg/Mtr) | Kg | 2407.2
35 |  | SITC | Cuntilever Angle for supporting HG Fuse 50X50X6mm Angle (1.5Mtr long, 2Nos) (4.5Kg/Mtr) | Kg | 2389.5
36 |  | SITC | Transformer Belting 50x50x6mm angle, 2.8mtr long,2nos(4.5kg/mtr) with side angle (total 7mtr long) | Kg | 5575.5
37 |  | SITC | Angle for mounting LT Distribution box 50x50x6mm 1mtr long ,2nos(4.5Kg/Mtr) | Kg | 1593
38 |  | SITC | Transformer mounting channel 100x50x6mm 2.8mtr long ,2nos(9.2kg/Mtr) | Kg | 9119.04
39 |  | SITC | Transformer Mounting Bracket for 16/10KVA 11/0.23 KV T/F | No. | 55
40 |  | SITC | AB switch mounting bracket 75x40x6 mm 6mtr. Long (6.8Kg/Mtr.) | K.g. | 2244
41 |  | SITC | Cantilever for supporting A.B. Switch Arm 50x40x6 mm Angle-3.5 mtr. Long (4.5 K.g./mtr.) | K.g. | 866.25
42 |  | SITC | Horn Gap Fuse mounting Channel 75x40x6mm 2.2Mtr long (6.8 K.g./mtr.) | K.g. | 822.8
43 | AB Switch And HG Fuse | ITC | 11KV AB Switch (3Pole) 200 A - Horizontal | Set | 232 | NA | NA | NA
44 |  | ITC | 11 kv H.G fuse 3pole(200A) | Set | 232 | NA | NA | NA
45 | Lightening Arrester | ITC | Lightning arrester 9KV, 10KA station class | No | 110 | NA | NA | NA
46 |  | ITC | 11 KV Lighting Arrestor(12KV,10KA) | No | 531 | NA | NA | NA
47 | Earthing | SITC | G.I pipe Earthing 40 mm dia medium gauge(3.25mm thick ness) 3 mtr long | No | 1050
48 |  | SITC | Earthing Coil | No | 7974
49 | HT Stay | SITC | H.T. Stay set(Complete) | Set | 2402
50 |  | SITC | Stay insulator | No | 2402
51 |  | SITC | Stay Clamp | Pair | 2402
52 |  | SITC | 7/10 (3.25mm dia per strand) SWG GI stay wire(2.19Mtr/Kg) (10 kg for each stay set) | Kg | 23985
53 | LT Stay | SITC | Stay Clamp (1.4 KG/Pair) | Pair | 1070
54 |  | SITC | Stay Insulator | No | 1070
55 |  | SITC | Stay set complete | Set | 1070
56 |  | SITC | 7/12 GI stay wire(3.27Mtr/Kg) | Kg | 8544
57 | LT Accessories | SITC | Suspenssion clamp I Hook | No | 2719
58 |  | SITC | Dead end clamp I hook | No | 1167
59 | Other Accessories | SITC | PG clamp 55mm² AAAC | No | 5368
60 |  | SITC | PG Clamp for 80 mm2AAA conductor | No | 0
61 |  | SITC | 25x4 mm G.I flat for earthing | kg | 10500
62 |  | SITC | Ms Bolts, Nuts & washers | Kg | 12309
63 |  | SITC | GI Nut, Bolt & washer | Kg | 0
64 |  | SITC | Danger Plate | No | 5251
65 |  | SITC | G.I barbered wire, 3kg/pole | kg | 15586
66 |  | SITC | Clamp,connector and jumpering material | Ls | 177
67 |  | SITC | Sundries(Paint, danger board, anticlimbing device, binding tape etc) | LS | 582
68 | Civil | SITC | Material for masonary work for salt,charcoal for earthing earth pit and cement plate cover for earthing | Ls | 1050
69 |  | SITC | Cement Concrete for Stay Anchor plate CC foundation 1:3:6 size by using 4cm size HBG metal=(0.45 x0.45x1.5)mtr =0.3037Cum. @4158.84=1263.03 or Rs. 1270.00 | No | 3472
70 |  | SITC | Cement Concreting for support with C.C. 1:3:6 by using 4cm size HBG metal= (0.45x0.45x1.5) = 0.3037Cum @ 4158.84= 0.3037xRs.4185.84 =Rs.1263.03 or Rs.1270.00 | No | 8497
71 |  | SITC | Fencing size 8'x12' with 10nos of RCC Piller and 3ply. GI barbed wire and Grill Gate & locking arrangement | No | 232
72 |  | SITC | Couping with C.C. 1:3:6 by using 12mm size hard broken granite chips =0.3Mtrx0.3Mtrx0.45Mtr =0.0405Cum @ Rs.4754.71/Cum =0.405xRs.4754.71=Rs.192.57 or Rs.193.00 | No | 0
73 | Service Connection | ITC | 1Ph Static Meter with TP Box 10-60 Amps (OSM) | Nos. | 8060 | NA | NA | NA
74 |  | SITC | 2C X 4 sq.mm PVC wire | Mtr. | 217620
75 |  | SITC | Bend Pipe | No. | 8060
76 |  | SITC | MCB/DP Switch 16/32 Amp 240V Surface Mounted | Nos. | 8060
77 |  | SITC | 1.5 mmsq 2 Copper Multi Standard PVC Insulated Wire (10x2) | Mtr. | 40300
78 |  | SITC | 8"X6" Wooden / FRP Board | Nos. | 8060
79 |  | SITC | Switch (5A) | Nos. | 16120
80 |  | SITC | 3 Pin socket (5A) | Nos. | 8060
81 |  | SITC | 3" Dia. Wooden / FRP Round Board | Nos. | 8060
82 |  | SITC | Angle Holder (5 Amp.) | Nos. | 8060
83 |  | SITC | LED Lamp (9 watt) | Nos. | 8060
84 |  | SITC | Coil Earthing (No. 6 GI Wire of 40 MM dia. Coil) | Nos. | 8060
85 |  | SITC | No. 10 GI Wire (75 gm/Mtr.) (insulated) | Kg | 16120
86 |  | SITC | Nail | Nos. | 80600
87 |  | SITC | Plastic clip with fixing nail | Nos. | 48360
Total

## Aska Circle
Sl. No | Type of Material | SITC/ ITC | Description of materials | Unit | Aska Circle | Supply |  |  | Erection / Service |  |  | All Inclusive Unit rate (Rs.) | Total All Inclusive Value (Rs.) | HSN / SAC Code
[6 empty] | Unit Ex-work Price (Rs.) | GST (Rs.) | Unit Supply Rate including GST (Rs.) | Unit Erection /service Charge (Rs.) | GST (Rs.) | Unit Erection Price including GST (Rs.)
[5 empty] | A |  |  | B |  |  | C | D = B + C | E = A x D
1 | PSC Pole | ITC | 9 mtr long 300kg PSC pole | No | 718 | NA | NA | NA
2 |  | ITC | 8mtr long 200kg PSC pole | No | 403 | NA | NA | NA
3 | Joist Pole | ITC | 13 mtr 160X 160 WPB (30.4kg.mtr) | No | 0 | NA | NA | NA
4 |  | ITC | 116X100mm RS joist (09 Mtr long)23.0kg/Mtr (Each 207kg) | No. | 0 | NA | NA | NA
5 |  | ITC | 8 Mtr RS Joist pole (125x70 mm) | No | 0 | NA | NA | NA
6 | Conductor | ITC | 55 mm2 AAAC Conductor | K.M. | 103.04 | NA | NA | NA
7 |  | ITC | 11kv 1C 99sqmm covered conductor | Km | 0 | NA | NA | NA
8 | Transformer | ITC | 16 KVA/11/0.25KV (Al)Transformer, BIS Energy level-II | No | 1 | NA | NA | NA
9 |  | ITC | 25 KVA,11/0.4KV Transformer | No | 23 | NA | NA | NA
10 |  | ITC | 63 KVA,11/0.4KV Transformer | No | 11 | NA | NA | NA
11 |  | ITC | 100 KVA,11/0.4KV Transformer | No | 0 | NA | NA | NA
12 | AB Cable | ITC | AB cable (3x50+1X35) | Km | 1 | NA | NA | NA
13 |  | ITC | AB cable (3x35+1X25) | Km | 13 | NA | NA | NA
14 | LT Cable | ITC | 1CX 95 mm² LT XLPE Cable | Mt | 1720 | NA | NA | NA
15 |  | ITC | 1CX 150 mm² LT XLPE Cable | Mt | 0 | NA | NA | NA
16 | LT Distribution Box | ITC | LT Distribution box with MCCB for 16KVA S/S | No | 1 | NA | NA | NA
17 |  | ITC | LT Distribution box includding Kit Kat fuse for 25KVA | No | 23 | NA | NA | NA
18 |  | ITC | LT Distribution box includding Kit Kat fuse for 63 KVA | No | 11 | NA | NA | NA
19 |  | ITC | 100 KVA LT Distribution box includding Kit Kat fuse | No | 0 | NA | NA | NA
20 | 11KV Accescories | SITC | 11KV V Cross Arm , 10.2Kg each for pin point | No | 552
21 |  | SITC | Back Clamp for "V" Cross Arms | No | 552
22 |  | SITC | GI Back Clamp for 11 KV V Cros Arm (0.85 Kg each) | No | 0
23 |  | SITC | F Clamp(Pole top Bracket) | No | 551
24 |  | SITC | 11Kv Pin Insulator polymer | No | 1944
25 |  | SITC | 11 kv Disc Insulator(B&S) 45 KN polymer | No | 786
26 |  | SITC | Disc Insulator B&S 90 KN (Polymer) | No | 0
27 |  | SITC | Hard Ware Fittings( B&S) 3 bolted | No | 786
28 |  | SITC | H/W fitting B&S type 90 KN 4 Bolt | No | 0
29 |  | SITC | RCC base plate | No | 1121
30 | CHANNEL & ANGLES | SITC | 100X50X6 mm, Channel St Cross arm 1.2Mtr @ 9.2Kg/mtr(2nos./CP+2 for tapping)) | Kg | 2885.08
31 |  | SITC | 100X50X6 mm, Channel top piece 0.25Mtr @ 9.2Kg/mtr(2nos./CP+2 for tapping)) | Kg | 597
32 |  | SITC | Top Pressure channel 100x50x6mm 2.8mtr long ,2nos(9.2kg/Mtr) | Kg | 1751.68
33 |  | SITC | HG Fuse and AB Switch mounting channel (75x40x6mm, 2.8Mtr,4Nos)(6.8Kg/Mtr) | Kg | 2589.44
34 |  | SITC | Cuntilever for supporting HG Fuse 75x40x6mm channel 1Mtr, 2Nos(6.8Kg/Mtr) | Kg | 462.4
35 |  | SITC | Cuntilever Angle for supporting HG Fuse 50X50X6mm Angle (1.5Mtr long, 2Nos) (4.5Kg/Mtr) | Kg | 459
36 |  | SITC | Transformer Belting 50x50x6mm angle, 2.8mtr long,2nos(4.5kg/mtr) with side angle (total 7mtr long) | Kg | 1071
37 |  | SITC | Angle for mounting LT Distribution box 50x50x6mm 1mtr long ,2nos(4.5Kg/Mtr) | Kg | 306
38 |  | SITC | Transformer mounting channel 100x50x6mm 2.8mtr long ,2nos(9.2kg/Mtr) | Kg | 1751.68
39 |  | SITC | Transformer Mounting Bracket for 16/10KVA 11/0.23 KV T/F | No. | 1
40 |  | SITC | AB switch mounting bracket 75x40x6 mm 6mtr. Long (6.8Kg/Mtr.) | K.g. | 40.8
41 |  | SITC | Cantilever for supporting A.B. Switch Arm 50x40x6 mm Angle-3.5 mtr. Long (4.5 K.g./mtr.) | K.g. | 15.75
42 |  | SITC | Horn Gap Fuse mounting Channel 75x40x6mm 2.2Mtr long (6.8 K.g./mtr.) | K.g. | 14.96
43 | AB Switch And HG Fuse | ITC | 11KV AB Switch (3Pole) 200 A - Horizontal | Set | 35 | NA | NA | NA
44 |  | ITC | 11 kv H.G fuse 3pole(200A) | Set | 35 | NA | NA | NA
45 | Lightening Arrester | ITC | Lightning arrester 9KV, 10KA station class | No | 2 | NA | NA | NA
46 |  | ITC | 11 KV Lighting Arrestor(12KV,10KA) | No | 102 | NA | NA | NA
47 | Earthing | SITC | G.I pipe Earthing 40 mm dia medium gauge(3.25mm thick ness) 3 mtr long | No | 173
48 |  | SITC | Earthing Coil | No | 1052
49 | HT Stay | SITC | H.T. Stay set(Complete) | Set | 366
50 |  | SITC | Stay insulator | No | 366
51 |  | SITC | Stay Clamp | Pair | 366
52 |  | SITC | 7/10 (3.25mm dia per strand) SWG GI stay wire(2.19Mtr/Kg) (10 kg for each stay set) | Kg | 3639
53 | LT Stay | SITC | Stay Clamp (1.4 KG/Pair) | Pair | 132
54 |  | SITC | Stay Insulator | No | 132
55 |  | SITC | Stay set complete | Set | 132
56 |  | SITC | 7/12 GI stay wire(3.27Mtr/Kg) | Kg | 1042
57 | LT Accessories | SITC | Suspenssion clamp I Hook | No | 332
58 |  | SITC | Dead end clamp I hook | No | 144
59 | Other Accessories | SITC | PG clamp 55mm² AAAC | No | 787
60 |  | SITC | PG Clamp for 80 mm2AAA conductor | No | 0
61 |  | SITC | 25x4 mm G.I flat for earthing | kg | 1730
62 |  | SITC | Ms Bolts, Nuts & washers | Kg | 1842
63 |  | SITC | GI Nut, Bolt & washer | Kg | 0
64 |  | SITC | Danger Plate | No | 719
65 |  | SITC | G.I barbered wire, 3kg/pole | kg | 2151
66 |  | SITC | Clamp,connector and jumpering material | Ls | 34
67 |  | SITC | Sundries(Paint, danger board, anticlimbing device, binding tape etc) | LS | 84
68 | Civil | SITC | Material for masonary work for salt,charcoal for earthing earth pit and cement plate cover for earthing | Ls | 173
69 |  | SITC | Cement Concrete for Stay Anchor plate CC foundation 1:3:6 size by using 4cm size HBG metal=(0.45 x0.45x1.5)mtr =0.3037Cum. @4158.84=1263.03 or Rs. 1270.00 | No | 498
70 |  | SITC | Cement Concreting for support with C.C. 1:3:6 by using 4cm size HBG metal= (0.45x0.45x1.5) = 0.3037Cum @ 4158.84= 0.3037xRs.4185.84 =Rs.1263.03 or Rs.1270.00 | No | 1121
71 |  | SITC | Fencing size 8'x12' with 10nos of RCC Piller and 3ply. GI barbed wire and Grill Gate & locking arrangement | No | 35
72 |  | SITC | Couping with C.C. 1:3:6 by using 12mm size hard broken granite chips =0.3Mtrx0.3Mtrx0.45Mtr =0.0405Cum @ Rs.4754.71/Cum =0.405xRs.4754.71=Rs.192.57 or Rs.193.00 | No | 0
73 | Service Connection | ITC | 1Ph Static Meter with TP Box 10-60 Amps (OSM) | Nos. | 79 | NA | NA | NA
74 |  | SITC | 2C X 4 sq.mm PVC wire | Mtr. | 2133
75 |  | SITC | Bend Pipe | No. | 79
76 |  | SITC | MCB/DP Switch 16/32 Amp 240V Surface Mounted | Nos. | 79
77 |  | SITC | 1.5 mmsq 2 Copper Multi Standard PVC Insulated Wire (10x2) | Mtr. | 395
78 |  | SITC | 8"X6" Wooden / FRP Board | Nos. | 79
79 |  | SITC | Switch (5A) | Nos. | 158
80 |  | SITC | 3 Pin socket (5A) | Nos. | 79
81 |  | SITC | 3" Dia. Wooden / FRP Round Board | Nos. | 79
82 |  | SITC | Angle Holder (5 Amp.) | Nos. | 79
83 |  | SITC | LED Lamp (9 watt) | Nos. | 79
84 |  | SITC | Coil Earthing (No. 6 GI Wire of 40 MM dia. Coil) | Nos. | 79
85 |  | SITC | No. 10 GI Wire (75 gm/Mtr.) (insulated) | Kg | 158
86 |  | SITC | Nail | Nos. | 790
87 |  | SITC | Plastic clip with fixing nail | Nos. | 474
Total (Rs.)

## Jeypore Circle
Sl. No | Type of Material | SITC/ ITC | Description of materials | Unit | Jeypore Circle | Supply |  |  | Erection / Service |  |  | All Inclusive Unit rate (Rs.) | Total All Inclusive Value (Rs.) | HSN / SAC Code
[6 empty] | Unit Ex-work Price (Rs.) | GST (Rs.) | Unit Supply Rate including GST (Rs.) | Unit Erection /service Charge (Rs.) | GST (Rs.) | Unit Erection Price including GST (Rs.)
[5 empty] | A |  |  | B |  |  | C | D = B + C | E = A x D
1 | PSC Pole | ITC | 9 mtr long 300kg PSC pole | No | 7433 | NA | NA | NA
2 |  | ITC | 8mtr long 200kg PSC pole | No | 6756 | NA | NA | NA
3 | Joist Pole | ITC | 13 mtr 160X 160 WPB (30.4kg.mtr) | No | 0 | NA | NA | NA
4 |  | ITC | 116X100mm RS joist (09 Mtr long)23.0kg/Mtr (Each 207kg) | No. | 0 | NA | NA | NA
5 |  | ITC | 8 Mtr RS Joist pole (125x70 mm) | No | 0 | NA | NA | NA
6 | Conductor | ITC | 55 mm2 AAAC Conductor | K.M. | 1038.2 | NA | NA | NA
7 |  | ITC | 11kv 1C 99sqmm covered conductor | Km | 0 | NA | NA | NA
8 | Transformer | ITC | 16 KVA/11/0.25KV (Al)Transformer, BIS Energy level-II | No | 5 | NA | NA | NA
9 |  | ITC | 25 KVA,11/0.4KV Transformer | No | 323 | NA | NA | NA
10 |  | ITC | 63 KVA,11/0.4KV Transformer | No | 21 | NA | NA | NA
11 |  | ITC | 100 KVA,11/0.4KV Transformer | No | 4 | NA | NA | NA
12 | AB Cable | ITC | AB cable (3x50+1X35) | Km | 18 | NA | NA | NA
13 |  | ITC | AB cable (3x35+1X25) | Km | 189 | NA | NA | NA
14 | LT Cable | ITC | 1CX 95 mm² LT XLPE Cable | Mt | 17300 | NA | NA | NA
15 |  | ITC | 1CX 150 mm² LT XLPE Cable | Mt | 200 | NA | NA | NA
16 | LT Distribution Box | ITC | LT Distribution box with MCCB for 16KVA S/S | No | 5 | NA | NA | NA
17 |  | ITC | LT Distribution box includding Kit Kat fuse for 25KVA | No | 323 | NA | NA | NA
18 |  | ITC | LT Distribution box includding Kit Kat fuse for 63 KVA | No | 21 | NA | NA | NA
19 |  | ITC | 100 KVA LT Distribution box includding Kit Kat fuse | No | 4 | NA | NA | NA
20 | 11KV Accescories | SITC | 11KV V Cross Arm , 10.2Kg each for pin point | No | 5723
21 |  | SITC | Back Clamp for "V" Cross Arms | No | 5723
22 |  | SITC | GI Back Clamp for 11 KV V Cros Arm (0.85 Kg each) | No | 0
23 |  | SITC | F Clamp(Pole top Bracket) | No | 5655
24 |  | SITC | 11Kv Pin Insulator polymer | No | 20116
25 |  | SITC | 11 kv Disc Insulator(B&S) 45 KN polymer | No | 8097
26 |  | SITC | Disc Insulator B&S 90 KN (Polymer) | No | 0
27 |  | SITC | Hard Ware Fittings( B&S) 3 bolted | No | 8125
28 |  | SITC | H/W fitting B&S type 90 KN 4 Bolt | No | 0
29 |  | SITC | RCC base plate | No | 14189
30 | CHANNEL & ANGLES | SITC | 100X50X6 mm, Channel St Cross arm 1.2Mtr @ 9.2Kg/mtr(2nos./CP+2 for tapping)) | Kg | 29837.4
31 |  | SITC | 100X50X6 mm, Channel top piece 0.25Mtr @ 9.2Kg/mtr(2nos./CP+2 for tapping)) | Kg | 6122
32 |  | SITC | Top Pressure channel 100x50x6mm 2.8mtr long ,2nos(9.2kg/Mtr) | Kg | 17928.96
33 |  | SITC | HG Fuse and AB Switch mounting channel (75x40x6mm, 2.8Mtr,4Nos)(6.8Kg/Mtr) | Kg | 26503.68
34 |  | SITC | Cuntilever for supporting HG Fuse 75x40x6mm channel 1Mtr, 2Nos(6.8Kg/Mtr) | Kg | 4732.8
35 |  | SITC | Cuntilever Angle for supporting HG Fuse 50X50X6mm Angle (1.5Mtr long, 2Nos) (4.5Kg/Mtr) | Kg | 4698
36 |  | SITC | Transformer Belting 50x50x6mm angle, 2.8mtr long,2nos(4.5kg/mtr) with side angle (total 7mtr long) | Kg | 10962
37 |  | SITC | Angle for mounting LT Distribution box 50x50x6mm 1mtr long ,2nos(4.5Kg/Mtr) | Kg | 3132
38 |  | SITC | Transformer mounting channel 100x50x6mm 2.8mtr long ,2nos(9.2kg/Mtr) | Kg | 17928.96
39 |  | SITC | Transformer Mounting Bracket for 16/10KVA 11/0.23 KV T/F | No. | 5
40 |  | SITC | AB switch mounting bracket 75x40x6 mm 6mtr. Long (6.8Kg/Mtr.) | K.g. | 204
41 |  | SITC | Cantilever for supporting A.B. Switch Arm 50x40x6 mm Angle-3.5 mtr. Long (4.5 K.g./mtr.) | K.g. | 78.75
42 |  | SITC | Horn Gap Fuse mounting Channel 75x40x6mm 2.2Mtr long (6.8 K.g./mtr.) | K.g. | 74.8
43 | AB Switch And HG Fuse | ITC | 11KV AB Switch (3Pole) 200 A - Horizontal | Set | 353 | NA | NA | NA
44 |  | ITC | 11 kv H.G fuse 3pole(200A) | Set | 353 | NA | NA | NA
45 | Lightening Arrester | ITC | Lightning arrester 9KV, 10KA station class | No | 10 | NA | NA | NA
46 |  | ITC | 11 KV Lighting Arrestor(12KV,10KA) | No | 1044 | NA | NA | NA
47 | Earthing | SITC | G.I pipe Earthing 40 mm dia medium gauge(3.25mm thick ness) 3 mtr long | No | 1755
48 |  | SITC | Earthing Coil | No | 13602
49 | HT Stay | SITC | H.T. Stay set(Complete) | Set | 3755
50 |  | SITC | Stay insulator | No | 3755
51 |  | SITC | Stay Clamp | Pair | 3755
52 |  | SITC | 7/10 (3.25mm dia per strand) SWG GI stay wire(2.19Mtr/Kg) (10 kg for each stay set) | Kg | 37531
53 | LT Stay | SITC | Stay Clamp (1.4 KG/Pair) | Pair | 2188
54 |  | SITC | Stay Insulator | No | 2188
55 |  | SITC | Stay set complete | Set | 2188
56 |  | SITC | 7/12 GI stay wire(3.27Mtr/Kg) | Kg | 17483
57 | LT Accessories | SITC | Suspenssion clamp I Hook | No | 5566
58 |  | SITC | Dead end clamp I hook | No | 2386
59 | Other Accessories | SITC | PG clamp 55mm² AAAC | No | 8102
60 |  | SITC | PG Clamp for 80 mm2AAA conductor | No | 0
61 |  | SITC | 25x4 mm G.I flat for earthing | kg | 17550
62 |  | SITC | Ms Bolts, Nuts & washers | Kg | 19050
63 |  | SITC | GI Nut, Bolt & washer | Kg | 0
64 |  | SITC | Danger Plate | No | 7438
65 |  | SITC | G.I barbered wire, 3kg/pole | kg | 22298
66 |  | SITC | Clamp,connector and jumpering material | Ls | 348
67 |  | SITC | Sundries(Paint, danger board, anticlimbing device, binding tape etc) | LS | 895
68 | Civil | SITC | Material for masonary work for salt,charcoal for earthing earth pit and cement plate cover for earthing | Ls | 1755
69 |  | SITC | Cement Concrete for Stay Anchor plate CC foundation 1:3:6 size by using 4cm size HBG metal=(0.45 x0.45x1.5)mtr =0.3037Cum. @4158.84=1263.03 or Rs. 1270.00 | No | 5943
70 |  | SITC | Cement Concreting for support with C.C. 1:3:6 by using 4cm size HBG metal= (0.45x0.45x1.5) = 0.3037Cum @ 4158.84= 0.3037xRs.4185.84 =Rs.1263.03 or Rs.1270.00 | No | 14189
71 |  | SITC | Fencing size 8'x12' with 10nos of RCC Piller and 3ply. GI barbed wire and Grill Gate & locking arrangement | No | 353
72 |  | SITC | Couping with C.C. 1:3:6 by using 12mm size hard broken granite chips =0.3Mtrx0.3Mtrx0.45Mtr =0.0405Cum @ Rs.4754.71/Cum =0.405xRs.4754.71=Rs.192.57 or Rs.193.00 | No | 0
73 | Service Connection | ITC | 1Ph Static Meter with TP Box 10-60 Amps (OSM) | Nos. | 4816 | NA | NA | NA
74 |  | SITC | 2C X 4 sq.mm PVC wire | Mtr. | 130032
75 |  | SITC | Bend Pipe | No. | 4816
76 |  | SITC | MCB/DP Switch 16/32 Amp 240V Surface Mounted | Nos. | 4816
77 |  | SITC | 1.5 mmsq 2 Copper Multi Standard PVC Insulated Wire (10x2) | Mtr. | 24080
78 |  | SITC | 8"X6" Wooden / FRP Board | Nos. | 4816
79 |  | SITC | Switch (5A) | Nos. | 9632
80 |  | SITC | 3 Pin socket (5A) | Nos. | 4816
81 |  | SITC | 3" Dia. Wooden / FRP Round Board | Nos. | 4816
82 |  | SITC | Angle Holder (5 Amp.) | Nos. | 4816
83 |  | SITC | LED Lamp (9 watt) | Nos. | 4816
84 |  | SITC | Coil Earthing (No. 6 GI Wire of 40 MM dia. Coil) | Nos. | 4816
85 |  | SITC | No. 10 GI Wire (75 gm/Mtr.) (insulated) | Kg | 9632
86 |  | SITC | Nail | Nos. | 48160
87 |  | SITC | Plastic clip with fixing nail | Nos. | 28896
Total ( Rs.)

## Total
Sl. No | Type of Material | SITC/ ITC | Description of materials | Unit | Berhampur Circle | Aska Circle | Bhanjanagar Circle | Rayagada Circle | Jeypore Circle | TOTAL | Supply |  |  | Erection / Service |  |  | All Inclusive Unit rate (Rs.) | Total All Inclusive Value (Rs.) | HSN / SAC Code
[11 empty] | Unit Ex-work Price (Rs.) | GST (Rs.) | Unit Supply Rate including GST (Rs.) | Unit Erection /service Charge (Rs.) | GST (Rs.) | Unit Erection Price including GST (Rs.)
[10 empty] | A |  |  | B |  |  | C | D = B + C | E = A x D
1 | PSC Pole | ITC | 9 mtr long 300kg PSC pole | No | 157 | 718 | 4058 | 4576 | 7433 | 16942 | NA | NA | NA
2 |  | ITC | 8mtr long 200kg PSC pole | No | 123 | 403 | 6755 | 3092 | 6756 | 17129 | NA | NA | NA
3 | Joist Pole | ITC | 13 mtr 160X 160 WPB (30.4kg.mtr) | No | 0 | 0 | 1427 | 0 | 0 | 1427 | NA | NA | NA
4 |  | ITC | 116X100mm RS joist (09 Mtr long)23.0kg/Mtr (Each 207kg) | No. | 0 | 0 | 0 | 620 | 0 | 620 | NA | NA | NA
5 |  | ITC | 8 Mtr RS Joist pole (125x70 mm) | No | 0 | 0 | 0 | 209 | 0 | 209 | NA | NA | NA
6 | Conductor | ITC | 55 mm2 AAAC Conductor | K.M. | 24.04 | 103.04 | 522.36 | 693.2 | 1038.2 | 2380.84 | NA | NA | NA
7 |  | ITC | 11kv 1C 99sqmm covered conductor | Km | 0 | 0 | 221 | 0 | 0 | 221 | NA | NA | NA
8 | Transformer | ITC | 16 KVA/11/0.25KV (Al)Transformer, BIS Energy level-II | No | 1 | 1 | 9 | 55 | 5 | 71 | NA | NA | NA
9 |  | ITC | 25 KVA,11/0.4KV Transformer | No | 4 | 23 | 297 | 160 | 323 | 807 | NA | NA | NA
10 |  | ITC | 63 KVA,11/0.4KV Transformer | No | 0 | 11 | 44 | 15 | 21 | 91 | NA | NA | NA
11 |  | ITC | 100 KVA,11/0.4KV Transformer | No | 0 | 0 | 0 | 2 | 4 | 6 | NA | NA | NA
12 | AB Cable | ITC | AB cable (3x50+1X35) | Km | 0 | 1 | 41 | 1 | 18 | 61 | NA | NA | NA
13 |  | ITC | AB cable (3x35+1X25) | Km | 5 | 13 | 166 | 102 | 189 | 475 | NA | NA | NA
14 | LT Cable | ITC | 1CX 95 mm² LT XLPE Cable | Mt | 220 | 1720 | 17230 | 9850 | 17300 | 46320 | NA | NA | NA
15 |  | ITC | 1CX 150 mm² LT XLPE Cable | Mt | 0 | 0 | 0 | 100 | 200 | 300 | NA | NA | NA
16 | LT Distribution Box | ITC | LT Distribution box with MCCB for 16KVA S/S | No | 1 | 1 | 9 | 55 | 5 | 71 | NA | NA | NA
17 |  | ITC | LT Distribution box includding Kit Kat fuse for 25KVA | No | 4 | 23 | 297 | 160 | 323 | 807 | NA | NA | NA
18 |  | ITC | LT Distribution box includding Kit Kat fuse for 63 KVA | No | 0 | 11 | 44 | 15 | 21 | 91 | NA | NA | NA
19 |  | ITC | 100 KVA LT Distribution box includding Kit Kat fuse | No | 0 | 0 | 0 | 2 | 4 | 6 | NA | NA | NA
20 | 11KV Accescories | SITC | 11KV V Cross Arm , 10.2Kg each for pin point | No | 127 | 552 | 4148 | 4089 | 5723 | 14639
21 |  | SITC | Back Clamp for "V" Cross Arms | No | 127 | 552 | 2863 | 4089 | 5723 | 13354
22 |  | SITC | GI Back Clamp for 11 KV V Cros Arm (0.85 Kg each) | No | 0 | 0 | 1285 | 0 | 0 | 1285
23 |  | SITC | F Clamp(Pole top Bracket) | No | 123 | 551 | 4118 | 3430 | 5655 | 13877
24 |  | SITC | 11Kv Pin Insulator polymer | No | 440 | 1944 | 14344 | 13564 | 20116 | 50408
25 |  | SITC | 11 kv Disc Insulator(B&S) 45 KN polymer | No | 169 | 786 | 4572 | 5313 | 8097 | 18937
26 |  | SITC | Disc Insulator B&S 90 KN (Polymer) | No | 0 | 0 | 853 | 0 | 0 | 853
27 |  | SITC | Hard Ware Fittings( B&S) 3 bolted | No | 171 | 786 | 4576 | 5631 | 8125 | 19289
28 |  | SITC | H/W fitting B&S type 90 KN 4 Bolt | No | 0 | 0 | 853 | 0 | 0 | 853
29 |  | SITC | RCC base plate | No | 280 | 1121 | 10813 | 7668 | 14189 | 34071
30 | CHANNEL & ANGLES | SITC | 100X50X6 mm, Channel St Cross arm 1.2Mtr @ 9.2Kg/mtr(2nos./CP+2 for tapping)) | Kg | 676.08 | 2885.08 | 19516.72 | 21849.4 | 29837.4 | 74764.68
31 |  | SITC | 100X50X6 mm, Channel top piece 0.25Mtr @ 9.2Kg/mtr(2nos./CP+2 for tapping)) | Kg | 133 | 597 | 3087 | 3675 | 6122 | 13614
32 |  | SITC | Top Pressure channel 100x50x6mm 2.8mtr long ,2nos(9.2kg/Mtr) | Kg | 206.08 | 1751.68 | 17568.32 | 9199.04 | 17928.96 | 46654.08
33 |  | SITC | HG Fuse and AB Switch mounting channel (75x40x6mm, 2.8Mtr,4Nos)(6.8Kg/Mtr) | Kg | 304.64 | 2589.44 | 25970.56 | 13480.32 | 26503.68 | 68848.64
34 |  | SITC | Cuntilever for supporting HG Fuse 75x40x6mm channel 1Mtr, 2Nos(6.8Kg/Mtr) | Kg | 54.4 | 462.4 | 4637.6 | 2407.2 | 4732.8 | 12294.4
35 |  | SITC | Cuntilever Angle for supporting HG Fuse 50X50X6mm Angle (1.5Mtr long, 2Nos) (4.5Kg/Mtr) | Kg | 54 | 459 | 4603.5 | 2389.5 | 4698 | 12204
36 |  | SITC | Transformer Belting 50x50x6mm angle, 2.8mtr long,2nos(4.5kg/mtr) with side angle (total 7mtr long) | Kg | 126 | 1071 | 10741.5 | 5575.5 | 10962 | 28476
37 |  | SITC | Angle for mounting LT Distribution box 50x50x6mm 1mtr long ,2nos(4.5Kg/Mtr) | Kg | 36 | 306 | 3069 | 1593 | 3132 | 8136
38 |  | SITC | Transformer mounting channel 100x50x6mm 2.8mtr long ,2nos(9.2kg/Mtr) | Kg | 206.08 | 1751.68 | 17568.32 | 9119.04 | 17928.96 | 46574.08
39 |  | SITC | Transformer Mounting Bracket for 16/10KVA 11/0.23 KV T/F | No. | 1 | 1 | 9 | 55 | 5 | 71
40 |  | SITC | AB switch mounting bracket 75x40x6 mm 6mtr. Long (6.8Kg/Mtr.) | K.g. | 40.8 | 40.8 | 367.2 | 2244 | 204 | 2896.8
41 |  | SITC | Cantilever for supporting A.B. Switch Arm 50x40x6 mm Angle-3.5 mtr. Long (4.5 K.g./mtr.) | K.g. | 15.75 | 15.75 | 141.75 | 866.25 | 78.75 | 1118.25
42 |  | SITC | Horn Gap Fuse mounting Channel 75x40x6mm 2.2Mtr long (6.8 K.g./mtr.) | K.g. | 14.96 | 14.96 | 134.64 | 822.8 | 74.8 | 1062.16
43 | AB Switch And HG Fuse | ITC | 11KV AB Switch (3Pole) 200 A - Horizontal | Set | 5 | 35 | 350 | 232 | 353 | 975 | NA | NA | NA
44 |  | ITC | 11 kv H.G fuse 3pole(200A) | Set | 5 | 35 | 350 | 232 | 353 | 975 | NA | NA | NA
45 | Lightening Arrester | ITC | Lightning arrester 9KV, 10KA station class | No | 2 | 2 | 18 | 110 | 10 | 142 | NA | NA | NA
46 |  | ITC | 11 KV Lighting Arrestor(12KV,10KA) | No | 12 | 102 | 1023 | 531 | 1044 | 2712 | NA | NA | NA
47 | Earthing | SITC | G.I pipe Earthing 40 mm dia medium gauge(3.25mm thick ness) 3 mtr long | No | 23 | 173 | 1732 | 1050 | 1755 | 4733
48 |  | SITC | Earthing Coil | No | 271 | 1052 | 11549 | 7974 | 13602 | 34448
49 | HT Stay | SITC | H.T. Stay set(Complete) | Set | 70 | 366 | 2840 | 2402 | 3755 | 9433
50 |  | SITC | Stay insulator | No | 70 | 366 | 2840 | 2402 | 3755 | 9433
51 |  | SITC | Stay Clamp | Pair | 70 | 366 | 2840 | 2402 | 3755 | 9433
52 |  | SITC | 7/10 (3.25mm dia per strand) SWG GI stay wire(2.19Mtr/Kg) (10 kg for each stay set) | Kg | 688 | 3639 | 28363 | 23985 | 37531 | 94206
53 | LT Stay | SITC | Stay Clamp (1.4 KG/Pair) | Pair | 41 | 132 | 2189 | 1070 | 2188 | 5620
54 |  | SITC | Stay Insulator | No | 41 | 132 | 2189 | 1070 | 2188 | 5620
55 |  | SITC | Stay set complete | Set | 41 | 132 | 2189 | 1070 | 2188 | 5620
56 |  | SITC | 7/12 GI stay wire(3.27Mtr/Kg) | Kg | 318 | 1042 | 17482 | 8544 | 17483 | 44869
57 | LT Accessories | SITC | Suspenssion clamp I Hook | No | 102 | 332 | 5565 | 2719 | 5566 | 14284
58 |  | SITC | Dead end clamp I hook | No | 44 | 144 | 2385 | 1167 | 2386 | 6126
59 | Other Accessories | SITC | PG clamp 55mm² AAAC | No | 170 | 787 | 4581 | 5368 | 8102 | 19008
60 |  | SITC | PG Clamp for 80 mm2AAA conductor | No | 0 | 0 | 853 | 0 | 0 | 853
61 |  | SITC | 25x4 mm G.I flat for earthing | kg | 230 | 1730 | 17320 | 10500 | 17550 | 47330
62 |  | SITC | Ms Bolts, Nuts & washers | Kg | 341 | 1842 | 13751 | 12309 | 19050 | 47293
63 |  | SITC | GI Nut, Bolt & washer | Kg | 0 | 0 | 1425 | 0 | 0 | 1425
64 |  | SITC | Danger Plate | No | 158 | 719 | 5494 | 5251 | 7438 | 19060
65 |  | SITC | G.I barbered wire, 3kg/pole | kg | 471 | 2151 | 16450 | 15586 | 22298 | 56956
66 |  | SITC | Clamp,connector and jumpering material | Ls | 4 | 34 | 341 | 177 | 348 | 904
67 |  | SITC | Sundries(Paint, danger board, anticlimbing device, binding tape etc) | LS | 19 | 84 | 796 | 582 | 895 | 2376
68 | Civil | SITC | Material for masonary work for salt,charcoal for earthing earth pit and cement plate cover for earthing | Ls | 23 | 173 | 1732 | 1050 | 1755 | 4733
69 |  | SITC | Cement Concrete for Stay Anchor plate CC foundation 1:3:6 size by using 4cm size HBG metal=(0.45 x0.45x1.5)mtr =0.3037Cum. @4158.84=1263.03 or Rs. 1270.00 | No | 111 | 498 | 5029 | 3472 | 5943 | 15053
70 |  | SITC | Cement Concreting for support with C.C. 1:3:6 by using 4cm size HBG metal= (0.45x0.45x1.5) = 0.3037Cum @ 4158.84= 0.3037xRs.4185.84 =Rs.1263.03 or Rs.1270.00 | No | 280 | 1121 | 12240 | 8497 | 14189 | 36327
71 |  | SITC | Fencing size 8'x12' with 10nos of RCC Piller and 3ply. GI barbed wire and Grill Gate & locking arrangement | No | 5 | 35 | 350 | 232 | 353 | 975
72 |  | SITC | Couping with C.C. 1:3:6 by using 12mm size hard broken granite chips =0.3Mtrx0.3Mtrx0.45Mtr =0.0405Cum @ Rs.4754.71/Cum =0.405xRs.4754.71=Rs.192.57 or Rs.193.00 | No | 0 | 0 | 1427 | 0 | 0 | 1427
73 | Service Connection | ITC | 1Ph Static Meter with TP Box 10-60 Amps (OSM) | Nos. | 796 | 79 | 7669 | 8060 | 4816 | 21420 | NA | NA | NA
74 |  | SITC | 2C X 4 sq.mm PVC wire | Mtr. | 21492 | 2133 | 207063 | 217620 | 130032 | 578340
75 |  | SITC | Bend Pipe | No. | 796 | 79 | 7669 | 8060 | 4816 | 21420
76 |  | SITC | MCB/DP Switch 16/32 Amp 240V Surface Mounted | Nos. | 796 | 79 | 7669 | 8060 | 4816 | 21420
77 |  | SITC | 1.5 mmsq 2 Copper Multi Standard PVC Insulated Wire (10x2) | Mtr. | 3980 | 395 | 38345 | 40300 | 24080 | 107100
78 |  | SITC | 8"X6" Wooden / FRP Board | Nos. | 796 | 79 | 7669 | 8060 | 4816 | 21420
79 |  | SITC | Switch (5A) | Nos. | 1592 | 158 | 15338 | 16120 | 9632 | 42840
80 |  | SITC | 3 Pin socket (5A) | Nos. | 796 | 79 | 7669 | 8060 | 4816 | 21420
81 |  | SITC | 3" Dia. Wooden / FRP Round Board | Nos. | 796 | 79 | 7669 | 8060 | 4816 | 21420
82 |  | SITC | Angle Holder (5 Amp.) | Nos. | 796 | 79 | 7669 | 8060 | 4816 | 21420
83 |  | SITC | LED Lamp (9 watt) | Nos. | 796 | 79 | 7669 | 8060 | 4816 | 21420
84 |  | SITC | Coil Earthing (No. 6 GI Wire of 40 MM dia. Coil) | Nos. | 796 | 79 | 7669 | 8060 | 4816 | 21420
85 |  | SITC | No. 10 GI Wire (75 gm/Mtr.) (insulated) | Kg | 1592 | 158 | 15338 | 16120 | 9632 | 42840
86 |  | SITC | Nail | Nos. | 7960 | 790 | 76690 | 80600 | 48160 | 214200
87 |  | SITC | Plastic clip with fixing nail | Nos. | 4776 | 474 | 46014 | 48360 | 28896 | 128520
Total