## Summary (hidden)
Sl No. | Category | Cost Estimate | Unit | Quantity | Cost Estimate (In Lacs) | Cost Estimate (In Cr.) | Sheet
1 |  | Standard BoQ and Estimate for 33kV 3C, 400sqmm UG Cable | Km | 1 |  |  | 33kV 3C, 400sqmm'!A1
2
3
4
5
6
7
8
9
10

## Package-B SDMF-2 (hidden)
Package-B: Engineering, Supply, Erection & Commissioning of Multiple Projects under SDMF-2
Sl No | Item Description | UOM | Quantity | Supply |  |  |  | Services |  |  |  | Total Amount (All Inclusive) -Services +Supply (Rs.)
1 | LT AB Cable Line Length with 33 Mtr. Span using - 4C×70 mm² (3P+1N)+1C×70 mm²(M)+1CX16 mm²(Street Light) |  |  | Unit Price (Rs.) | GST | Unit Price - All Inclusive (Rs.) | Total Amount (All Inclusive) (Rs.) | Unit Price (Rs.) | GST | Unit Price - All Inclusive (Rs.) | Total Amount (All Inclusive) (Rs.)
1.1 | 9 Mtr. long 300 Kg. PSC Pole | No. | 400 |  |  |  |  | NA | NA | NA | NA
1.2 | LT Stay set Complete | Set | 200 |  |  |  |  | NA | NA | NA | NA
1.3 | 7/12 SWG GI stay wire | Kg | 2400 |  |  |  |  | NA | NA | NA | NA
1.4 | LT stay Clamp for 9 mtr PSC pole | Pair | 200 |  |  |  |  | NA | NA | NA | NA
1.5 | LT Stay insulator | No. | 200 |  |  |  |  | NA | NA | NA | NA
LT Accessories with Eye hook and Clamp
1.6 | Pole clamp for EYE hook for 9 mtr PSC pole (XLPE Aerial bunched Cable) | Pair | 1560
1.7 | Flat Type EYE hook for XLPE Aerial bunched Cable | No. | 720
1.8 | NFC Conductor Dead End Clamp suitable for bare messenger XLPE Aerial bunched cable(70-95sq mm) | No. | 720
1.9 | NFC Suspension Clamp with EYE hook for ABC 70- 95Sqmm | Pair | 840
1.10 | 4C×70 mm² (3P+1N)+1C×70 mm²(M)+1CX16 mm²(Street Light) | K.M | 42
1.11 | LT Distribution Box Polycarbonate 10 Way | No. | 280
1.12 | Insulated piercing connector.Type-A-main 50 to 150 sq.mm & Tap-50 to 150 sq.mm | No. | 160
1.13 | Insulated piercing connector.Type-B-main 25 to 150 sq.mm & Tap-6 to 35 sq.mm | No. | 1600
1.14 | Insulated piercing connector.Type-C-main 16 to 95 sq.mm & Tap-1.5 to 16 sq.mm | No. | 1200
1.15 | Pipe Earthing 40mm dia 3 mtr Long GI Pipe Heavy Duty | No. | 200 |  |  |  |  | NA | NA | NA | NA
1.16 | Coil Earthing | No's | 200
1.17 | 8 SWG GI wire - 2 Mtr. For connecting pole with Coil earthing | Kg | 104.8
1.18 | Danger plate (LT) | No | 400
1.19 | Back Clamp for danger Plate 25X3 mm. flat | KG | 120.36
1.20 | 2C X 4sq. mm. Armoured Aluminium Cable - XLPE Insulated A2XWY-FRLSH | Mtr. | 10000
1.21 | 2C X 10sq. mm. Armoured Aluminium Cable - XLPE Insulated A2XWY-FRLSH | Mtr. | 4000
1.22 | 4C X 10sq. mm. Armoured Aluminium Cable - XLPE Insulated A2XWY-FRLSH | Mtr. | 8000
1.23 | GI Nut , Bolt & Washer of different sizes | Kg | 200
1.24 | Black Paint | Ltr | 400
1.25 | Yellow Colour Paint for Background | Ltr | 800
2 | Civil Works
2.1 | Fixing of LT Complete stay set includes 1) Turn Buckle Assembly 2) Stay Rod & Stay plate 3) Stay Insulator 4) Stay Wire. 5)Stay clamps with Nuts & bolts, including excvation, supply of 0.2Cum cement concrete foundation 1:2:4 size (500mmx500mmx800mm) using 20mm BHG metal with all labour and material (Excavation of earth will be done of size 500X500X1500 mm.) | No. | 200 | NA | NA | NA | NA
2.2 | Concreting ratio 1:1.5:3 (500mmX500mmX1500mm) = 0.375Cu.mtr | Cu.mtr | 150 | NA | NA | NA | NA
2.3 | Installation of Earth Pit, Charcoal, Salt etc. including construction of earthing chamber (Size: 2'x2') and RCC slab cover | No. | 200 | NA | NA | NA | NA
2.4 | Dismantling of 9/8 Mtr. PCC/Joist Pole (Serviceable Pole) after digging the pit and taking out the pole, transportation and stacking the pole at a proper place in safe position within10km /site store and refilling the pit with loose earth and amming including removal and disposal of malba at proper location as per instruction of EIC. | No. | 200 | NA | NA | NA | NA
2.5 | Dismantling of ACSR/AAAC 34/ 55mm2 from overhead line, recoiling, loading, transportation, unloading and staking at a proper place in safe position/ site store | KM | 40 | NA | NA | NA | NA
2.6 | Dismantling of Insulator with Pin including loading, transportation, unloading and staking at a proper place in safe position/ site store. | EA | 3600 | NA | NA | NA | NA
2.7 | Dismantling / Removal of V Cross arm/ channel from pole including loading, transportation, unloading and staking of dismantled material at a proper place in safe position at Site Store. | EA | 1200 | NA | NA | NA | NA
33 kV line Strengthening with RLP Pole & 148 Sqmm. AAAC conductor
1 | RLP - Suspension Type (10.478Mtr. Long, 514.31 KG) | No | 1386 |  |  |  |  | NA | NA | NA | NA
2 | WPB 160x152 (30.44KG/Mtr.),13 mtr- with base plate 300x300x12 | No | 388 |  |  |  |  | NA | NA | NA | NA
3 | Top Channel 100X50X5mm, each channel length 3.25 mtr. | Kg | 6027.58
4 | Double Pole Bracing Channel 75X40X4.8mm, each channel length 2.8 Mtr. | Kg | 7756.896
5 | 50X50X6mm.GI Bracing Angle, each angle length 3.432 mtr. | Kg | 5992.272
6 | Straight Cross Arm Channel 100X50X5mm,9.56 KG/mtr., each channel length 1.7 Mtr. | Kg | 6305.776
7 | Straight Cross Arm Top Channel 100X50X5mm, 9.56 KG/mtr, each channel length 0.306 Mtr. | Kg | 1135.0397
8 | Fish Plate 50X8 mm., each 0.28 mtr. Length | Kg | 1452.4384
9 | Danger Plate, 1 no | No | 1774
10 | Back Clamp for danger Plate, 1 no for WPB | Kg | 116.7492
11 | Back Clamp for danger Plate, 1 no for RLP | Kg | 817.74
12 | GI barbed wire anticlimbing device | Kg | 5322
13 | Back Clamp for Barbed wire anticlimbing device for WPB | Kg | 466.9968
14 | Back Clamp for Barbed wire anticlimbing device for RLP | Kg | 3270.96
15 | 33kV Disc insulator (Polymer ) 90KN | No | 11808
16 | 33kV H/W fitting(B&S) 90KN,4 Bolt | Set | 1746
17 | Hardware fitting (suspension clamp,D shackle) | No | 4158
18 | 33kV,10kN pin insulator polymer | No | 1020
19 | Earthing of Support ( Coil Type ) | EA | 1774
20 | H.T. Stay clamp | Pair | 776 |  |  |  |  | NA | NA | NA | NA
21 | H.T. Stay set (Complete ) | Set | 776 |  |  |  |  | NA | NA | NA | NA
22 | H.T. Stay Insulator | No | 1552 |  |  |  |  | NA | NA | NA | NA
23 | 7/8 SWG Stay Wire | Kg | 11640 |  |  |  |  | NA | NA | NA | NA
24 | Top Channel 100X50X5mm, 9.56 KG/Mtr., each channel length 4.3 mtr. | Kg | 4028.584
25 | Double Pole Belting Channel 75X40X4.8mm., 7.14KG/Mtr., each channel length 4.3 Mtr | Kg | 3008.796
26 | 50X50X6mm.GI Bracing Angle, 4.5Kg./mtr., each angle length 4.927 mtr. | Kg | 2172.807
27 | AB switch Mounting Channel 100X50X5mm, 9.56KG/Mtr, each channel length 4.3 Mtr., 2 no's channel required | Kg | 4028.584
28 | AB Switch Side Support Channel 100X50X5mm,9.56 KG/Mtr., each channel length 0.35 mtr., 2 no's channel required | Kg | 327.908
29 | Channel Support for down Pipe 75X40X4.8mm., 7.14KG/Mtr., each channel length 0.8 Mtr., 1 no's channel required | Kg | 279.888
30 | Lightning Arrester(30KV,10KA) Station Class-2 | No | 147
31 | 33kV AB Switch,400A,3Pole,50Hz,Horizontal Type | Set | 49
32 | 40mm nominal bore GI pipe (medium gauge) earthing device with 3 mtr .Long | No | 97 |  |  |  |  | NA | NA | NA | NA
33 | 50x6 mm GI flat | Kg | 4656
34 | No-8 GI wire (Dia 4.6mm) 0.131 KG/ Mtr.- 2 Mtr. For connecting pole with Coil earthing | Kg | 464.788
35 | PG Clamp for 148 mm2 AAAC conductor | No | 1746
36 | GI Nut , Bolt & Washer of different sizes | Kg | 10032.78
37 | AAA conductor,148 mm2 | Km | 300.71
38 | Black Paint | Ltr | 1580 |  |  |  |  | NA | NA | NA | NA
39 | Yellow Colour Paint for Background | Ltr | 3160 |  |  |  |  | NA | NA | NA | NA
Civil & Services
40 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 3m in depth, 0.75m in width) including getting out and disposal of excavated earth including backfilling wherever necessary, as directed by Engineer-incharge. | Cum | 1524.6 | NA | NA | NA | NA
41 | Providing all materials, tools, equipment, manpower, fabrication, cleaning, cutting, bending, welding of 1.5mm thk metal sheet liner lowering by manual or mechanical means, placing and maintaining it in position for pile. Material to be supplied by contractor. All Material shall be procured from Prime Manufacturer. | Kg | 69300 | NA | NA | NA | NA
42 | Providing & placing Reinforcement Steel for piles Reinforcement for the piles, HYSD generally conforming to the requirements of IS: 1786, including procurement, storage, transportation, cleaning, cutting, bending, tack welding, of laps in the longitudinal bars and lateral steel to prevent disturbance during lowering of steel cage into the bore, tying the rods using binding wire of soft annealed black wire of 16 G, and placing the reinforcement cage into the bore hole to correct position etc. complete. No separate payment will be made for binding wires. All Material shall be procured from Prime Manufacturer. | Kg | 62370 | NA | NA | NA | NA
43 | RCC M-20 for Pedestal for all depths up to 0.3m above GL as per drawing. Providing and placing in position reinforced cement concrete for Pedestals, at all depths and up to 0.3M above ground, including vibrating, curing, de-watering wherever necessary, including cost of providing form work for all shapes but excluding the cost of providing reinforcement all as per specifications and as directed by the ENGINEER incharge. All materials including cement shall be in Contractor's scope. | Cum | 970.2 | NA | NA | NA | NA
44 | Nut bolting of foundation, cross arms and whrerever required in the pole. Installation of insulators, hardware fittings and conductor stringing. | No | 1386 | NA | NA | NA | NA
45 | Fixing of complete stay set includes Turn Buckle Assembly,Stay Rod,Stay plate,Stay Insulator,Stay Wire,Stay clamps with Nuts & bolts with C.C foundation 1:2:4 size (500x500x800mm) | No | 776 | NA | NA | NA | NA
46 | Erection of 13 Mtr long Pole including providing & laying of 1:1.5:3,M20 Grade C.C-500x500X2200mm & cooping of 500x500x450 mm,zebra painting (In Black & Yellow Strips/Zebra) | No | 388 | NA | NA | NA | NA
47 | Installation of Earthing pipe with 40mm dia. 3 Mtr long GI Pipe with Salt, Charcoal, Nuts-Bolt ,PVC Pipe PCC & brick work for earthing chamber (Size: 2'x2') & RCC slab cover | No | 97 | NA | NA | NA | NA
48 | Dismantling of RSJ/ WPB pole(150x150mm) | EA | 1617 | NA | NA | NA | NA
49 | Dismantling of ACSR/AAAC Conductor | Kg | 121963.1343 | NA | NA | NA | NA
50 | Dismantling of insulator with pin,disc type | EA | 6306 | NA | NA | NA | NA
51 | Dismantling of V cross arm from pole | EA | 1132 | NA | NA | NA | NA
52 | Dismantling of Steel Structure,Nuts & Bolt | Kg | 24250 | NA | NA | NA | NA
11 kV line Strengthening with RLP Pole & 100 Sqmm. AAAC conductor
52 | RLP - Suspension Type 9.978Mtr. Long, 449.14KG (pole+stub) | No | 2143 |  |  |  |  | NA | NA | NA | NA
53 | WPB 160x152 (30.44KG/Mtr.),11 mtr- with base plate 300x300x12 | No | 600 |  |  |  |  | NA | NA | NA | NA
54 | Top Channel 100X50X5mm, each channel length 2.3 mtr. | Kg | 6596.4
55 | Double Pole Bracing Channel 75X40X4.8mm,each channel length 2.0 Mtr. | Kg | 8568
56 | 50X50X6mm.GI Bracing Angle, each angle length 2.671 mtr | Kg | 7211.7
57 | Straight Cross Arm Channel 100X50X5mm,9.56 KG/mtr., each channel length 1.2 Mtr. | Kg | 6883.2
58 | Straight Cross Arm Top Channel 100X50X5mm, 9.56 KG/mtr, each channel length 0.306 Mtr. | Kg | 1755.216
59 | Fish Plate 50X8 mm., each 0.28 mtr. Length | Kg | 2241.96
60 | Danger Plate, 1 no | No | 2743
61 | Back Clamp for danger Plate, 1 no for WPB | Kg | 180.54
62 | Back Clamp for danger Plate, 1 no for RLP | Kg | 1264.37
63 | GI barbed wire anticlimbing device | Kg | 8229
64 | Back Clamp for Barbed wire anticlimbing device for WPB | Kg | 722.16
65 | Back Clamp for Barbed wire anticlimbing device for RLP | Kg | 5057.48
66 | 11kV Disc insulator (Polymer ) 70KN | No | 18258
67 | H/W fitting(B&S) 70KN,3 Bolt | Set | 2700
68 | Hardware fitting (suspension clamp,D shackle) | No | 6429
69 | 11kV,5kN pin insulator polymer | No | 1575
70 | Earthing of Support ( Coil Type ) | EA | 2743
71 | H.T. Stay clamp | Pair | 1200 |  |  |  |  | NA | NA | NA | NA
72 | H.T. Stay set (Complete ) | Set | 1200 |  |  |  |  | NA | NA | NA | NA
73 | H.T. Stay Insulator | No | 1200 |  |  |  |  | NA | NA | NA | NA
74 | 7/10 SWG Stay Wire | Kg | 12000 |  |  |  |  | NA | NA | NA | NA
75 | Top Channel 100X50X5mm, 9.56 KG/Mtr., each channel length 3.0 mtr. | Kg | 4302
76 | Double Pole Belting Channel 75X40X 4.8mm.,7.14KG/Mtr.,each channel length 3.0 Mtr. | Kg | 3213
77 | 50X50X6mm.GI Bracing Angle, 4.5Kg./mtr., each angle length 3.512 mtr. | Kg | 2370.6
78 | AB Switch mounting Channel 100X50X5mm GI channel 4.3mtr long 2Nos 9.56 Kg/mtr | Kg | 4605.3
79 | AB Switch Side Support Channel 100X50X5mm,9.56 KG/Mtr., each channel length 0.35 mtr., 2 no's channel required | Kg | 501.9
80 | Channel Support for down Pipe 75X40X4.8mm., 7.14KG/Mtr., each channel length 0.8 Mtr., 1 no's channel required | Kg | 428.4
81 | Lightning Arrester(12KV,10KA) Station Class 2 | No | 225
82 | 11kV AB Switch,400A.3pole,50Hz,Horizontal Type | Set | 75
83 | 40mm nominal bore GI pipe (medium gauge) earthing device with 3 mtr .Long | No | 150 |  |  |  |  | NA | NA | NA | NA
84 | 50x6 mm GI flat | Kg | 7200
85 | No-8 GI wire (Dia 4.6mm) 0.131 KG/ Mtr.- 2 Mtr. For connecting pole with Coil earthing | Kg | 718.666
86 | PG Clamp for 100 mm2 AAAC conductor | No | 2700
87 | GI Nut , Bolt & Washer of different sizes | Kg | 15504
88 | AAA conductor,100 mm2 | Km | 465
89 | Black Paint | Ltr | 2443 |  |  |  |  | NA | NA | NA | NA
90 | Yellow Colour Paint for Background | Ltr | 4886 |  |  |  |  | NA | NA | NA | NA
Civil & Services
91 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 3m in depth, 0.75m in width) including getting out and disposal of excavated earth including backfilling wherever necessary, as directed by Engineer-incharge. | Cum | 2357.3 | NA | NA | NA | NA
92 | Providing all materials, tools, equipment, manpower, fabrication, cleaning, cutting, bending, welding of 1.5mm thk metal sheet liner lowering by manual or mechanical means, placing and maintaining it in position for pile. Material to be supplied by contractor. All Material shall be procured from Prime Manufacturer. | Kg | 107150 | NA | NA | NA | NA
93 | Providing & placing Reinforcement Steel for piles Reinforcement for the piles, HYSD generally conforming to the requirements of IS: 1786, including procurement, storage, transportation, cleaning, cutting, bending, tack welding, of laps in the longitudinal bars and lateral steel to prevent disturbance during lowering of steel cage into the bore, tying the rods using binding wire of soft annealed black wire of 16 G, and placing the reinforcement cage into the bore hole to correct position etc. complete. No separate payment will be made for binding wires. All Material shall be procured from Prime Manufacturer. | Kg | 96435 | NA | NA | NA | NA
94 | RCC M-20 for Pedestal for all depths up to 0.3m above GL as per drawing. Providing and placing in position reinforced cement concrete for Pedestals, at all depths and up to 0.3M above ground, including vibrating, curing, de-watering wherever necessary, including cost of providing form work for all shapes but excluding the cost of providing reinforcement all as per specifications and as directed by the ENGINEER incharge. All materials including cement shall be in Contractor's scope. | Cum | 1500.1 | NA | NA | NA | NA
95 | Nut bolting of foundation, cross arms and whrerever required in the pole. Installation of insulators, hardware fittings and conductor stringing. | No | 2143 | NA | NA | NA | NA
96 | Fixing of complete stay set includes Turn Buckle Assembly,Stay Rod,Stay plate,Stay Insulator,Stay Wire,Stay clamps with Nuts & bolts with C.C foundation 1:2:4 size (500x500x800mm) | No | 1200 | NA | NA | NA | NA
97 | Erection of 11 Mtr long Pole including providing & laying of 1:1.5:3,M20 Grade,C.C-500x500X1800mm & cooping of 500x500x450mm,zebra painting (In Black & Yellow Strips/Zebra) | No | 600 | NA | NA | NA | NA
98 | Installation of Earthing pipe with 40mm dia. 3 Mtr long GI Pipe with Salt, Charcoal, Nuts-Bolt ,PVC Pipe PCC & brick work for earthing chamber (Size: 2'x2') & RCC slab cover | No | 150 | NA | NA | NA | NA
99 | Dismantling of RSJ/ WPB pole(150x150mm/ | EA | 2500 | NA | NA | NA | NA
100 | Dismantling of ACSR/AAAC Conductor | Kg | 188602.785 | NA | NA | NA | NA
101 | Dismantling of insulator with pin,disc type | EA | 9750 | NA | NA | NA | NA
102 | Dismantling of V cross arm from pole | EA | 1750 | NA | NA | NA | NA
103 | Dismantling of Steel Structure,Nuts & Bolt | Kg | 37500 | NA | NA | NA | NA
| Total | [6 empty] | Total
.

## REVISED PKG-B SDMF
Package-B (Schedule for Items) Engineering, Supply, Erection & Commissioning of Multiple Projects under SDMF-2
| SUPPLY OF FOLLOWING EQUIPMENTS/ MATERIALS (As per technical specification and scope of work.) |  | A | B | C | D | E
Sl No | Item Description | UoM | Quantity | Unit Price (Rs.) | GST | Unit Price - All Inclusive (Rs.) (D = B+C) | Total Amount (All Inclusive) (Rs.) (E = A x D)
DETAIL REQUIREMENT (To be quoted)
A | Supply of Materials Required for Construction of LT ABC line, as per technical specification and scope of work
1 | 9 Mtr. long 300 Kg. PSC Pole | No. | 400
2 | LT Stay set Complete | Set | 200
3 | 7/12 SWG GI stay wire | Kg | 2400
4 | LT stay Clamp for 9 mtr PSC pole | Pair | 200
5 | LT Stay insulator | No. | 200
6 | Pole clamp for EYE hook for 9 mtr PSC pole (XLPE Aerial bunched Cable) | Pair | 1560
7 | Flat Type EYE hook for XLPE Aerial bunched Cable | No. | 720
8 | NFC Conductor Dead End Clamp suitable for bare messenger XLPE Aerial bunched cable(70-95sq mm) | No. | 720
9 | NFC Suspension Clamp with EYE hook for ABC 70- 95Sqmm | Pair | 840
10 | 4C×70 mm² (3P+1N)+1C×70 mm²(M)+1CX16 mm²(Street Light) | K.M | 42
11 | LT Distribution Box Polycarbonate 10 Way | No. | 280
12 | Insulated piercing connector.Type-A-main 50 to 150 sq.mm & Tap-50 to 150 sq.mm | No. | 160
13 | Insulated piercing connector.Type-B-main 25 to 150 sq.mm & Tap-6 to 35 sq.mm | No. | 1600
14 | Insulated piercing connector.Type-C-main 16 to 95 sq.mm & Tap-1.5 to 16 sq.mm | No. | 1200
15 | Pipe Earthing 40mm dia 3 mtr Long GI Pipe Heavy Duty | No. | 200
16 | Coil Earthing | No's | 200
17 | 8 SWG GI wire - 2 Mtr. For connecting pole with Coil earthing | Kg | 104.8
18 | Danger plate (LT) | No | 400
19 | Back Clamp for danger Plate 25X3 mm. flat | KG | 120.36
20 | 2C X 4sq. mm. Armoured Aluminium Cable - XLPE Insulated A2XWY-FRLSH | Mtr. | 10000
21 | 2C X 10sq. mm. Armoured Aluminium Cable - XLPE Insulated A2XWY-FRLSH | Mtr. | 4000
22 | 4C X 10sq. mm. Armoured Aluminium Cable - XLPE Insulated A2XWY-FRLSH | Mtr. | 8000
23 | GI Nut , Bolt & Washer of different sizes | Kg | 200
24 | Black Paint | Ltr | 400
25 | Yellow Colour Paint for Background | Ltr | 800
TOTAL OF SUPPLY COMPONENT OF THE WORKS CONTRACT FOR LT Line
Erection,Testing & Commissioning including civil works of following equipments(as per technical specification & scope of work)
Sl No | Item Description | UoM | Quantity | Unit Price (Rs.) | GST | Unit Price - All Inclusive (Rs.) | Total Amount (All Inclusive) (Rs.)
DETAIL REQUIREMENT (To be quoted)
A | Erection,Testing & Commissioning of materials required for construction of LT ABC line as per technical specification and scope of work
1 | 9 Mtr. long 300 Kg. PSC Pole | No. | 400
2 | LT Stay set Complete | Set | 200
3 | 7/12 SWG GI stay wire | Kg | 2400
4 | LT stay Clamp for 9 mtr PSC pole | Pair | 200
5 | LT Stay insulator | No. | 200
6 | Pole clamp for EYE hook for 9 mtr PSC pole (XLPE Aerial bunched Cable) | Pair | 1560
7 | Flat Type EYE hook for XLPE Aerial bunched Cable | No. | 720
8 | NFC Conductor Dead End Clamp suitable for bare messenger XLPE Aerial bunched cable(70-95sq mm) | No. | 720
9 | NFC Suspension Clamp with EYE hook for ABC 70- 95Sqmm | Pair | 840
10 | 4C×70 mm² (3P+1N)+1C×70 mm²(M)+1CX16 mm²(Street Light) | K.M | 42
11 | LT Distribution Box Polycarbonate 10 Way | No. | 280
12 | Insulated piercing connector.Type-A-main 50 to 150 sq.mm & Tap-50 to 150 sq.mm | No. | 160
13 | Insulated piercing connector.Type-B-main 25 to 150 sq.mm & Tap-6 to 35 sq.mm | No. | 1600
14 | Insulated piercing connector.Type-C-main 16 to 95 sq.mm & Tap-1.5 to 16 sq.mm | No. | 1200
15 | Pipe Earthing 40mm dia 3 mtr Long GI Pipe Heavy Duty | No. | 200
16 | Coil Earthing | No's | 200
17 | 8 SWG GI wire - 2 Mtr. For connecting pole with Coil earthing | Kg | 104.8
18 | Danger plate (LT) | No | 400
19 | Back Clamp for danger Plate 25X3 mm. flat | KG | 120.36
20 | 2C X 4sq. mm. Armoured Aluminium Cable - XLPE Insulated A2XWY-FRLSH | Mtr. | 10000
21 | 2C X 10sq. mm. Armoured Aluminium Cable - XLPE Insulated A2XWY-FRLSH | Mtr. | 4000
22 | 4C X 10sq. mm. Armoured Aluminium Cable - XLPE Insulated A2XWY-FRLSH | Mtr. | 8000
23 | GI Nut , Bolt & Washer of different sizes | Kg | 200
24 | Black Paint | Ltr | 400
25 | Yellow Colour Paint for Background | Ltr | 800
B | Civil Works Incluing Supply of All Materials Like Cement, MS tor Rod, Brick, Coarse & Fine Agregrates & Labour, T&P etc.; for Construction of LT Line
1 | Detail Survey of LT lines profile plotting, pole spotting and preparation of pole schedule, as per technical specification and scope of work. | Km | 42
2 | Fixing of LT Complete stay set includes 1) Turn Buckle Assembly 2) Stay Rod & Stay plate 3) Stay Insulator 4) Stay Wire. 5)Stay clamps with Nuts & bolts, including excvation, supply of 0.2Cum cement concrete foundation 1:2:4 size (500mmx500mmx800mm) using 20mm BHG metal with all labour and material (Excavation of earth will be done of size 500X500X1500 mm.) | No. | 200
3 | Concreting ratio 1:1.5:3 (500mmX500mmX1500mm) = 0.375Cu.mtr | Cu.mtr | 150
4 | Construction of Earthing chamber including installation of earthing pipe.Making earthing chamber including excavation , soil treatment with bentonide powder , calculation of earth resistance, including Installation of 3Mtr GI Pipe 40mm/50mm including welding of GI flat around pipe . | No. | 200
5 | Dismantling of 9/8 Mtr. PCC/Joist Pole (Serviceable Pole) after digging the pit and taking out the pole, transportation and stacking the pole at a proper place in safe position within10km /site store and refilling the pit with loose earth and amming including removal and disposal of malba at proper location as per instruction of EIC. | No. | 200
6 | Dismantling of ACSR/AAAC 34/ 55mm2 from overhead line, recoiling, loading, transportation, unloading and staking at a proper place in safe position/ site store | KM | 40
7 | Dismantling of Insulator with Pin including loading, transportation, unloading and staking at a proper place in safe position/ site store. | EA | 3600
8 | Dismantling / Removal of V Cross arm/ channel from pole including loading, transportation, unloading and staking of dismantled material at a proper place in safe position at Site Store. | EA | 1200
TOTAL OF ERECTION & CIVIL WORKS COMPONENT OF THE WORKS CONTRACT FOR LT Line
SUPPLY OF FOLLOWING EQUIPMENTS/ MATERIALS (As per technical specification and scope of work.)
Sl No | Item Description | UoM | Quantity | Unit Price (Rs.) | GST | Unit Price - All Inclusive (Rs.) | Total Amount (All Inclusive) (Rs.)
DETAIL REQUIREMENT (To be quoted)
A | Supply of Materials Required for Construction of 33KV line, as per technical specification and scope of work
1 | RLP - Suspension Type (10.478Mtr. Long, 514.31 KG) | No | 1386
2 | WPB 160x152 (30.44KG/Mtr.),13 mtr- with base plate 300x300x12 | No | 388
3 | Top Channel 100X50X5mm, each channel length 3.25 mtr. | Kg | 6027.58
4 | Double Pole Bracing Channel 75X40X4.8mm, each channel length 2.8 Mtr. | Kg | 7756.896
5 | 50X50X6mm.GI Bracing Angle, each angle length 3.432 mtr. | Kg | 5992.272
6 | Straight Cross Arm Channel 100X50X5mm,9.56 KG/mtr., each channel length 1.7 Mtr. | Kg | 6305.776
7 | Straight Cross Arm Top Channel 100X50X5mm, 9.56 KG/mtr, each channel length 0.306 Mtr. | Kg | 1135.0397
8 | Fish Plate 50X8 mm., each 0.28 mtr. Length | Kg | 1452.4384
9 | Danger Plate, 1 no | No | 1774
10 | Back Clamp for danger Plate, 1 no for WPB | Kg | 116.7492
11 | Back Clamp for danger Plate, 1 no for RLP | Kg | 817.74
12 | GI barbed wire anticlimbing device | Kg | 5322
13 | Back Clamp for Barbed wire anticlimbing device for WPB | Kg | 466.9968
14 | Back Clamp for Barbed wire anticlimbing device for RLP | Kg | 3270.96
15 | 33kV Disc insulator (Polymer ) 90KN | No | 11808
16 | 33kV H/W fitting(B&S) 90KN,4 Bolt | Set | 1746
17 | Hardware fitting (suspension clamp,D shackle) | No | 4158
18 | 33kV,10kN pin insulator polymer | No | 1020
19 | Earthing of Support ( Coil Type ) | EA | 1774
20 | H.T. Stay clamp | Pair | 776
21 | H.T. Stay set (Complete ) | Set | 776
22 | H.T. Stay Insulator | No | 1552
23 | 7/8 SWG Stay Wire | Kg | 11640
24 | Top Channel 100X50X5mm, 9.56 KG/Mtr., each channel length 4.3 mtr. | Kg | 4028.584
25 | Double Pole Belting Channel 75X40X4.8mm., 7.14KG/Mtr., each channel length 4.3 Mtr | Kg | 3008.796
26 | 50X50X6mm.GI Bracing Angle, 4.5Kg./mtr., each angle length 4.927 mtr. | Kg | 2172.807
27 | AB switch Mounting Channel 100X50X5mm, 9.56KG/Mtr, each channel length 4.3 Mtr., 2 no's channel required | Kg | 4028.584
28 | AB Switch Side Support Channel 100X50X5mm,9.56 KG/Mtr., each channel length 0.35 mtr., 2 no's channel required | Kg | 327.908
29 | Channel Support for down Pipe 75X40X4.8mm., 7.14KG/Mtr., each channel length 0.8 Mtr., 1 no's channel required | Kg | 279.888
30 | Lightning Arrester(30KV,10KA) Station Class-2 | No | 147
31 | 33kV AB Switch,400A,3Pole,50Hz,Horizontal Type | Set | 49
32 | 40mm nominal bore GI pipe (medium gauge) earthing device with 3 mtr .Long | No | 97
33 | 50x6 mm GI flat | Kg | 4656
34 | No-8 GI wire (Dia 4.6mm) 0.131 KG/ Mtr.- 2 Mtr. For connecting pole with Coil earthing | Kg | 464.788
35 | PG Clamp for 148 mm2 AAAC conductor | No | 1746
36 | GI Nut , Bolt & Washer of different sizes | Kg | 10032.78
37 | AAA conductor,148 mm2 | Km | 300.71
38 | Black Paint | Ltr | 1580
39 | Yellow Colour Paint for Background | Ltr | 3160
B | Supply of Materials Required for Construction of 11KV line, as per technical specification and scope of work
1 | RLP - Suspension Type 9.978Mtr. Long, 449.14KG (pole+stub) | No | 2143
2 | WPB 160x152 (30.44KG/Mtr.),11 mtr- with base plate 300x300x12 | No | 600
3 | Top Channel 100X50X5mm, each channel length 2.3 mtr. | Kg | 6596.4
4 | Double Pole Bracing Channel 75X40X4.8mm,each channel length 2.0 Mtr. | Kg | 8568
5 | 50X50X6mm.GI Bracing Angle, each angle length 2.671 mtr | Kg | 7211.7
6 | Straight Cross Arm Channel 100X50X5mm,9.56 KG/mtr., each channel length 1.2 Mtr. | Kg | 6883.2
7 | Straight Cross Arm Top Channel 100X50X5mm, 9.56 KG/mtr, each channel length 0.306 Mtr. | Kg | 1755.216
8 | Fish Plate 50X8 mm., each 0.28 mtr. Length | Kg | 2241.96
9 | Danger Plate, 1 no | No | 2743
10 | Back Clamp for danger Plate, 1 no for WPB | Kg | 180.54
11 | Back Clamp for danger Plate, 1 no for RLP | Kg | 1264.37
12 | GI barbed wire anticlimbing device | Kg | 8229
13 | Back Clamp for Barbed wire anticlimbing device for WPB | Kg | 722.16
14 | Back Clamp for Barbed wire anticlimbing device for RLP | Kg | 5057.48
15 | 11kV Disc insulator (Polymer ) 70KN | No | 18258
16 | H/W fitting(B&S) 70KN,3 Bolt | Set | 2700
17 | Hardware fitting (suspension clamp,D shackle) | No | 6429
18 | 11kV,5kN pin insulator polymer | No | 1575
19 | Earthing of Support ( Coil Type ) | EA | 2743
20 | H.T. Stay clamp | Pair | 1200
21 | H.T. Stay set (Complete ) | Set | 1200
22 | H.T. Stay Insulator | No | 1200
23 | 7/10 SWG Stay Wire | Kg | 12000
24 | Top Channel 100X50X5mm, 9.56 KG/Mtr., each channel length 3.0 mtr. | Kg | 4302
25 | Double Pole Belting Channel 75X40X 4.8mm.,7.14KG/Mtr.,each channel length 3.0 Mtr. | Kg | 3213
26 | 50X50X6mm.GI Bracing Angle, 4.5Kg./mtr., each angle length 3.512 mtr. | Kg | 2370.6
27 | AB Switch mounting Channel 100X50X5mm GI channel 4.3mtr long 2Nos 9.56 Kg/mtr | Kg | 4605.3
28 | AB Switch Side Support Channel 100X50X5mm,9.56 KG/Mtr., each channel length 0.35 mtr., 2 no's channel required | Kg | 501.9
29 | Channel Support for down Pipe 75X40X4.8mm., 7.14KG/Mtr., each channel length 0.8 Mtr., 1 no's channel required | Kg | 428.4
30 | Lightning Arrester(12KV,10KA) Station Class 2 | No | 225
31 | 11kV AB Switch,400A.3pole,50Hz,Horizontal Type | Set | 75
32 | 40mm nominal bore GI pipe (medium gauge) earthing device with 3 mtr .Long | No | 150
33 | 50x6 mm GI flat | Kg | 7200
34 | No-8 GI wire (Dia 4.6mm) 0.131 KG/ Mtr.- 2 Mtr. For connecting pole with Coil earthing | Kg | 718.666
35 | PG Clamp for 100 mm2 AAAC conductor | No | 2700
36 | GI Nut , Bolt & Washer of different sizes | Kg | 15504
37 | AAA conductor,100 mm2 | Km | 465
38 | Black Paint | Ltr | 2443
39 | Yellow Colour Paint for Background | Ltr | 4886
TOTAL OF SUPPLY COMPONENT OF THE WORKS CONTRACT FOR HT LINE WITH RLP POLE
Erection,Testing & Commissioning including civil works of following equipments(as per technical specification & scope of work)
Sl No | Item Description | UoM | Quantity | Unit Price (Rs.) | GST | Unit Price - All Inclusive (Rs.) | Total Amount (All Inclusive) (Rs.)
DETAIL REQUIREMENT (To be quoted)
A | Erection,Testing & Commissioning of materials required for construction of 33KV Line using RLP Pole as per technical specification and scope of work
1 | RLP - Suspension Type (10.478Mtr. Long, 514.31 KG) | No | 1386
2 | WPB 160x152 (30.44KG/Mtr.),13 mtr- with base plate 300x300x12 | No | 388
3 | Top Channel 100X50X5mm, each channel length 3.25 mtr. | Kg | 6027.58
4 | Double Pole Bracing Channel 75X40X4.8mm, each channel length 2.8 Mtr. | Kg | 7756.896
5 | 50X50X6mm.GI Bracing Angle, each angle length 3.432 mtr. | Kg | 5992.272
6 | Straight Cross Arm Channel 100X50X5mm,9.56 KG/mtr., each channel length 1.7 Mtr. | Kg | 6305.776
7 | Straight Cross Arm Top Channel 100X50X5mm, 9.56 KG/mtr, each channel length 0.306 Mtr. | Kg | 1135.0397
8 | Fish Plate 50X8 mm., each 0.28 mtr. Length | Kg | 1452.4384
9 | Danger Plate, 1 no | No | 1774
10 | Back Clamp for danger Plate, 1 no for WPB | Kg | 116.7492
11 | Back Clamp for danger Plate, 1 no for RLP | Kg | 817.74
12 | GI barbed wire anticlimbing device | Kg | 5322
13 | Back Clamp for Barbed wire anticlimbing device for WPB | Kg | 466.9968
14 | Back Clamp for Barbed wire anticlimbing device for RLP | Kg | 3270.96
15 | 33kV Disc insulator (Polymer ) 90KN | No | 11808
16 | 33kV H/W fitting(B&S) 90KN,4 Bolt | Set | 1746
17 | Hardware fitting (suspension clamp,D shackle) | No | 4158
18 | 33kV,10kN pin insulator polymer | No | 1020
19 | Earthing of Support ( Coil Type ) | EA | 1774
20 | H.T. Stay clamp | Pair | 776
21 | H.T. Stay set (Complete ) | Set | 776
22 | H.T. Stay Insulator | No | 1552
23 | 7/8 SWG Stay Wire | Kg | 11640
24 | Top Channel 100X50X5mm, 9.56 KG/Mtr., each channel length 4.3 mtr. | Kg | 4028.584
25 | Double Pole Belting Channel 75X40X4.8mm., 7.14KG/Mtr., each channel length 4.3 Mtr | Kg | 3008.796
26 | 50X50X6mm.GI Bracing Angle, 4.5Kg./mtr., each angle length 4.927 mtr. | Kg | 2172.807
27 | AB switch Mounting Channel 100X50X5mm, 9.56KG/Mtr, each channel length 4.3 Mtr., 2 no's channel required | Kg | 4028.584
28 | AB Switch Side Support Channel 100X50X5mm,9.56 KG/Mtr., each channel length 0.35 mtr., 2 no's channel required | Kg | 327.908
29 | Channel Support for down Pipe 75X40X4.8mm., 7.14KG/Mtr., each channel length 0.8 Mtr., 1 no's channel required | Kg | 279.888
30 | Lightning Arrester(30KV,10KA) Station Class-2 | No | 147
31 | 33kV AB Switch,400A,3Pole,50Hz,Horizontal Type | Set | 49
32 | 40mm nominal bore GI pipe (medium gauge) earthing device with 3 mtr .Long | No | 97
33 | 50x6 mm GI flat | Kg | 4656
34 | No-8 GI wire (Dia 4.6mm) 0.131 KG/ Mtr.- 2 Mtr. For connecting pole with Coil earthing | Kg | 464.788
35 | PG Clamp for 148 mm2 AAAC conductor | No | 1746
36 | GI Nut , Bolt & Washer of different sizes | Kg | 10032.78
37 | AAA conductor,148 mm2 | Km | 300.71
38 | Black Paint | Ltr | 1580
39 | Yellow Colour Paint for Background | Ltr | 3160
B | Erection,Testing & Commissioning of materials required for construction of 11KV Line using RLP Pole as per technical specification and scope of work
1 | RLP - Suspension Type 9.978Mtr. Long, 449.14KG (pole+stub) | No | 2143
2 | WPB 160x152 (30.44KG/Mtr.),11 mtr- with base plate 300x300x12 | No | 600
3 | Top Channel 100X50X5mm, each channel length 2.3 mtr. | Kg | 6596.4
4 | Double Pole Bracing Channel 75X40X4.8mm,each channel length 2.0 Mtr. | Kg | 8568
5 | 50X50X6mm.GI Bracing Angle, each angle length 2.671 mtr | Kg | 7211.7
6 | Straight Cross Arm Channel 100X50X5mm,9.56 KG/mtr., each channel length 1.2 Mtr. | Kg | 6883.2
7 | Straight Cross Arm Top Channel 100X50X5mm, 9.56 KG/mtr, each channel length 0.306 Mtr. | Kg | 1755.216
8 | Fish Plate 50X8 mm., each 0.28 mtr. Length | Kg | 2241.96
9 | Danger Plate, 1 no | No | 2743
10 | Back Clamp for danger Plate, 1 no for WPB | Kg | 180.54
11 | Back Clamp for danger Plate, 1 no for RLP | Kg | 1264.37
12 | GI barbed wire anticlimbing device | Kg | 8229
13 | Back Clamp for Barbed wire anticlimbing device for WPB | Kg | 722.16
14 | Back Clamp for Barbed wire anticlimbing device for RLP | Kg | 5057.48
15 | 11kV Disc insulator (Polymer ) 70KN | No | 18258
16 | H/W fitting(B&S) 70KN,3 Bolt | Set | 2700
17 | Hardware fitting (suspension clamp,D shackle) | No | 6429
18 | 11kV,5kN pin insulator polymer | No | 1575
19 | Earthing of Support ( Coil Type ) | EA | 2743
20 | H.T. Stay clamp | Pair | 1200
21 | H.T. Stay set (Complete ) | Set | 1200
22 | H.T. Stay Insulator | No | 1200
23 | 7/10 SWG Stay Wire | Kg | 12000
24 | Top Channel 100X50X5mm, 9.56 KG/Mtr., each channel length 3.0 mtr. | Kg | 4302
25 | Double Pole Belting Channel 75X40X 4.8mm.,7.14KG/Mtr.,each channel length 3.0 Mtr. | Kg | 3213
26 | 50X50X6mm.GI Bracing Angle, 4.5Kg./mtr., each angle length 3.512 mtr. | Kg | 2370.6
27 | AB Switch mounting Channel 100X50X5mm GI channel 4.3mtr long 2Nos 9.56 Kg/mtr | Kg | 4605.3
28 | AB Switch Side Support Channel 100X50X5mm,9.56 KG/Mtr., each channel length 0.35 mtr., 2 no's channel required | Kg | 501.9
29 | Channel Support for down Pipe 75X40X4.8mm., 7.14KG/Mtr., each channel length 0.8 Mtr., 1 no's channel required | Kg | 428.4
30 | Lightning Arrester(12KV,10KA) Station Class 2 | No | 225
31 | 11kV AB Switch,400A.3pole,50Hz,Horizontal Type | Set | 75
32 | 40mm nominal bore GI pipe (medium gauge) earthing device with 3 mtr .Long | No | 150
33 | 50x6 mm GI flat | Kg | 7200
34 | No-8 GI wire (Dia 4.6mm) 0.131 KG/ Mtr.- 2 Mtr. For connecting pole with Coil earthing | Kg | 718.666
35 | PG Clamp for 100 mm2 AAAC conductor | No | 2700
36 | GI Nut , Bolt & Washer of different sizes | Kg | 15504
37 | AAA conductor,100 mm2 | Km | 465
38 | Black Paint | Ltr | 2443
39 | Yellow Colour Paint for Background | Ltr | 4886
C | Civil works with supply of all materials like cement, MS tor rod, brick, coarse & fine aggregates and labour, T&P, etc for construction of line using RLP pole.
1 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 3m in depth, 0.75m in width) including getting out and disposal of excavated earth including backfilling wherever necessary, as directed by Engineer-incharge. | Cum | 3881.9
2 | Providing all materials, tools, equipment, manpower, fabrication, cleaning, cutting, bending, welding of 1.5mm thk metal sheet liner lowering by manual or mechanical means, placing and maintaining it in position for pile. Material to be supplied by contractor. All Material shall be procured from Prime Manufacturer. | Kg | 176450
3 | Providing & placing Reinforcement Steel for piles Reinforcement for the piles, HYSD generally conforming to the requirements of IS: 1786, including procurement, storage, transportation, cleaning, cutting, bending, tack welding, of laps in the longitudinal bars and lateral steel to prevent disturbance during lowering of steel cage into the bore, tying the rods using binding wire of soft annealed black wire of 16 G, and placing the reinforcement cage into the bore hole to correct position etc. complete. No separate payment will be made for binding wires. All Material shall be procured from Prime Manufacturer. | Kg | 158805
4 | RCC M-20 for Pedestal for all depths up to 0.3m above GL as per drawing. Providing and placing in position reinforced cement concrete for Pedestals, at all depths and up to 0.3M above ground, including vibrating, curing, de-watering wherever necessary, including cost of providing form work for all shapes but excluding the cost of providing reinforcement all as per specifications and as directed by the ENGINEER incharge. All materials including cement shall be in Contractor's scope. | Cum | 2470.3
5 | Nut bolting of foundation, cross arms and whrerever required in the pole. Installation of insulators, hardware fittings and conductor stringing. | No | 3529
6 | Fixing of complete stay set includes Turn Buckle Assembly,Stay Rod,Stay plate,Stay Insulator,Stay Wire,Stay clamps with Nuts & bolts with C.C foundation 1:2:4 size (500x500x800mm) | No | 1976
7 | Concreting of 1:1.5:3,M20 Grade C.C-500x500X2200mm & cooping of 500x500x450 mm | No | 388
8 | Concreting of 1:1.5:3,M20 Grade,C.C-500x500X1800mm & cooping of 500x500x450mm | No | 600
9 | Installation of Earthing pipe with 40mm dia. 3 Mtr long GI Pipe with Salt, Charcoal, Nuts-Bolt ,PVC Pipe PCC & brick work for earthing chamber (Size: 2'x2') & RCC slab cover | No | 247
10 | Dismantling of RSJ/ WPB pole(150x150mm) | EA | 4117
11 | Dismantling of ACSR/AAAC Conductor | Kg | 310565.9193
12 | Dismantling of insulator with pin,disc type | EA | 16056
13 | Dismantling of V cross arm from pole | EA | 2882
14 | Dismantling of Steel Structure,Nuts & Bolt | Kg | 61750
TOTAL OF ERECTION & CIVIL WORKS COMPONENT OF THE WORKS CONTRACT FOR HT line using RLP pole
Total All-Inclusive BoQ Value
.