## 11kV Linking Line
SCOPE OF WORK FOR STRENGTHENING OF ELECRICAL INFRASTRUCTURE ( 11 KV LINKING LINE) UNDER SETU 2023-24 SCHEME
SL No. | Distirct | Circle | Division | GP | Existing 11 kV Feeder | Location From | Location To | Length (CKM) | Conductor Size | No. of 11 kV Bay required at PSS | Remarks
1 | Malkangiri | Jeypore | MED | Badapada | 11KV Ralegada | Janbai Colony | Near Badpada PSS | 1.7 | 100sqmm
2 | Malkangiri | Jeypore | MED | Papermetla | 11KV RE Feeder | Totaguda | Gandhiguda | 7.5 | 100sqmm
3 | Malkangiri | Jeypore | MED | Badapada jodambo papermetla | 11KV Panasput | Badapada PSS | Jodamba | 24 | 100sqmm | 1 | 11KV Bay required at Badapada PSS
4 | Malkangiri | Jeypore | MED | Badapada | 11 KV Panasput | Gora setu AB Swich | Andrapali AB Switch | 0.25 | 80 sq mm
5 | Malkangiri | Jeypore | MED | Jantri | 11 KV Mudulipada | Tusaipada | Jantri | 4 | 100 sq mm |  | for Crossing of River and linking line

## 11kV Conductor Upgradation
SCOPE OF WORK FOR STRENGTHENING OF ELECRICAL INFRASTRUCTURE( UPGRADATION OF ELECTRICAL INFRA STRUCTURE II ) UNDER SETU 2023-24 SCHEME
SL No. | Distirct | Circle | Division | GP | 11kV FEEDER NAME | Location From | Location To | Proposed Conductor Size (Sqmm) | Considered length (Ckm)
1 | Malkangiri | Jeypore | MED | Papermatla & Jodambo | Panasput | Totaguda | Jodamba | 100 | 20
2 | Malkangiri | Jeypore | MED | Jodambo Panasput & Jantri | Panasput | Jodamba | Jantri | 80 | 20
3 | Malkangiri | Jeypore | MED | Jodambo, Gajalmamudi | Panasput | Jodamba | Gajalmamudi | 80 | 13
4 | Malkangiri | Jeypore | MED | Papermatla | RE | Janbai Colony | Bandhuguda | 80 | 9
5 | Malkangiri | Jeypore | MED | Badapada & Ralegada | Ralegada | Badpada PSS | Sarkubandh | 100 | 10
6 | Malkangiri | Jeypore | MED | Ralegadfa | Ralegada | Sarkupalli | Suapalli | 80 | 6
7 | Malkangiri | Jeypore | MED | Dhuliput | Ralegada | Sarkubandh | Sunamgai | 80 | 15

## 11kV Sectionaliser& Auto Reclos
SCOPE OF WORK FOR STRENGTHENING OF ELECRICAL INFRASTRUCTURE(AUTO RECLOSER & SECTIONALISER FOR RELIABLE P/S ) UNDER SETU 2023-24 SCHEME
SL No | Distirct | Circle | Division | GP | 11kV FEEDER NAME | Location | Auto Recloser Qty | Sectionalizer Qty in Nos.
1 | Malkangiri | Jeypore | MED | Ralegada & Dhuliput | Ralegada | Sarkubandh | 1 | 2
2 | Malkangiri | Jeypore | MED | Andhrapalli ,Panasput & Jantri | Pansput | Gorasetu | 1 | 2
3 | Malkangiri | Jeypore | MED | Jodambo | Pansput | Janturai | 1 | 2
4 | Malkangiri | Jeypore | MED | Papermatla | RE | Jantapai | 1 | 2
5 | Malkangiri | Jeypore | MED | Nakamamudi | Doraguda | Raipur | 1 | 2
6 | Malkangiri | Jeypore | MED | Nakamamudi & Tunnel Camp | Doraguda | Tunnel Camp | 1 | 2

## 11kV AB Switch
SCOPE OF WORK FOR STRENGTHENING OF ELECRICAL INFRASTRUCTURE(AB SWITCH ) UNDER SETU 2023-24 SCHEME
SL No | Distirct | Circle | Division | GP | 11kV FEEDER NAME | Location | AB Switch Qty in Nos.
1 | Malkangiri | Jeypore | MED | Ralegada | Ralegada | Sarkubandh | 2
2 | Malkangiri | Jeypore | MED | Dhuliput | Ralegada | Iskabandha | 1
3 | Malkangiri | Jeypore | MED | Panaspuit | Pansput | Gorasetu | 2
4 | Malkangiri | Jeypore | MED | Jodambo | Pansput | Janturai | 2
5 | Malkangiri | Jeypore | MED | Papermatla | RE | Jantapai | 2
6 | Malkangiri | Jeypore | MED | Nakamamudi | Doraguda | Raipur | 2
7 | Malkangiri | Jeypore | MED | Nakamamudi | Doraguda | Tunnel Camp | 2
8 | Malkangiri | Jeypore | MED | Panasput | Pansput | Andrapali | 1
9 | Malkangiri | Jeypore | MED | Galajmamudi | Pansput | Mojaguda | 1
10 | Malkangiri | Jeypore | MED | Jodambo | Pansput | Taping point of bhitara Darlabeda | 1
11 | Malkangiri | Jeypore | MED | Badpada | Badpada Town | Kodaguma | 1
12 | Malkangiri | Jeypore | MED | Jodambo | Pansput | Tikarpada | 1
13 | Malkangiri | Jeypore | MED | Jodambo | Pansput | Kunturpadar | 1
13 | Malkangiri | Jeypore | MED | Papermatla | RE feeder | Lawaguda | 1
14 | Malkangiri | Jeypore | MED | Papermatla | RE feeder | Limatang | 1
15 | Malkangiri | Jeypore | MED | Ralegada | Ralegada | Iskapali | 1
16 | Malkangiri | Jeypore | MED | Ralegada | Ralegada | Jajpalam | 1
17 | Malkangiri | Jeypore | MED | Ralegada | Ralegada | Kadamjhala | 1
18 | Malkangiri | Jeypore | MED | Ralegada | Ralegada | Rallegada | 1
19 | Malkangiri | Jeypore | MED | Ralegada | Ralegada | Punanugezad | 1

## 11kV FPI
SCOPE OF WORK FOR STRENGTHENING OF ELECRICAL INFRASTRUCTURE( FAULT PASSING INDICATOR ) UNDER SETU 2023-24 SCHEME
SL No. | Distirct | Circle | Division | GP | 11kV FEEDER NAME | Location | Qty in SET
1 | Malkangiri | Jeypore | MED | Panasput | Pansput | Bejing | 1
2 | Malkangiri | Jeypore | MED | Gajalmamudi | Pansput | Mojaguda | 1
3 | Malkangiri | Jeypore | MED | Jodambo | Pansput | BSF Camp | 1
4 | Malkangiri | Jeypore | MED | Badapada | Badpada Town | Lohram | 1
5 | Malkangiri | Jeypore | MED | Badapada | Badpada Town | Kodaguma | 1
6 | Malkangiri | Jeypore | MED | Badapada | Badpada Town | Bhimram | 1
7 | Malkangiri | Jeypore | MED | Papermatla | RE | Limatan | 1
8 | Malkangiri | Jeypore | MED | Dhuliput | Ralegada | Iskabandha | 1
9 | Malkangiri | Jeypore | MED | Ralegada | Ralegada | Jholaguda | 1
10 | Malkangiri | Jeypore | MED | Ralegada | Ralegada | Iskapalli | 1
11 | Malkangiri | Jeypore | MED | Ralegada | Ralegada | Kadamjhola | 1
12 | Malkangiri | Jeypore | MED | Badapada | Ralegada | Janbai | 1
13 | Malkangiri | Jeypore | MED | Dhuliput | Ralegada | Pununugejad | 1
14 | Malkangiri | Jeypore | MED | Dhuliput | Ralegada | Rallegada | 1

## New DT & assoc. Cable
SCOPE OF WORK FOR CONSTRUCTION OF ELECRICAL INFRASTRUCTURE TO PROVIDE UE HOUSEHOLDS UNDER SETU 2023-24 SCHEME
SL NO. | NAME OF DISTRICT | NAME OF THE BLOCK | NAME OF THE GP | NAME OF THE VILLAGE | SCOPE OF WORK
[5 empty] | 11KV (IN CKM) | DTR CAPACITY IN KVA | New LT AB Cable (in KM)
[5 empty] | 3P 3W | NEW
(4x35+1x35+1X16)
1 | MALKANGIRI | Chitrakonda | Panasaput | Dumaguda | 0.6 | 25 KVA | 0.9
2 | MALKANGIRI | Chitrakonda | Gajalmamudi | Lenjguda | 0.28 | 25 KVA | 0.18
3 | MALKANGIRI | Chitrakonda | Gajalmamudi | Pulsicamp | 4.2 | 25 KVA | 0.27
4 | MALKANGIRI | Chitrakonda | Dhuliput | Jumdang | 6 | 25 KVA | 0.5
5 | MALKANGIRI | Chitrakonda | Dhuliput | Ranginiguda | 4 | 25 KVA | 0.52
6 | MALKANGIRI | Chitrakonda | Dhuliput | Kotavru | 0.5 | 25KVA | 0.2
7 | MALKANGIRI | Chitrakonda | Ralegada | Kharapalli | 2.8 | 25KVA | 0.25
8 | MALKANGIRI | Chitrakonda | Ralegada | Pedahadu | 2.1 | 25 KVA | 0.5
9 | MALKANGIRI | Chitrakonda | Ralegada | Gajalmamudi GP | 2.8 | 25 KVA | 0.5
10 | MALKANGIRI | Chitrakonda | Ralegada | Sikatpalli | 2.1 | 25 KVA | 0.25
11 | MALKANGIRI | Chitrakonda | Jodambo | Main Road to Pujariguda | 0.8 | 25 KVA | 0.35
12 | MALKANGIRI | Chitrakonda | Jodambo | Main Road to Khilaguda | 1 | 25 kVA | 0.9
13 | MALKANGIRI | Chitrakonda | Jodambo | Padkhal | 4.5 | 25 kVA | 0.35
14 | MALKANGIRI | Chitrakonda | Jodambo | Dumaguda | 0.56 | 25 KVA | 0.09
15 | MALKANGIRI | Chitrakonda | Panasaput | Nuaguda | 0.4 | 25 KVA | 0.4
16 | MALKANGIRI | Chitrakonda | Jodambo | Majaguda | 0.15 | 25 KVA | 0.3
17 | MALKANGIRI | Chitrakonda | Badapada | Jholaguda | 2.5 | 25 KVA | 0.36
18 | MALKANGIRI | Chitrakonda | Gajalmamudi | Doraghat | 4.2 | 25 KVA | 0.3
19 | MALKANGIRI | Chitrakonda | Andrapalli | Sagarguda | 2 | 25 KVA | 0.15
20 | MALKANGIRI | Chitrakonda | Badapada | Petral | 4 | 25 KVA | 0.36
21 | MALKANGIRI | Chitrakonda | Badapada | Sangamguda | 3 | 25 KVA | 0.3
22 | MALKANGIRI | Korukonda | Nakamamudi | Jhalaguda (Maheswar pada) | 0.2 | 25 KVA | 0.08
23 | MALKANGIRI | chitakonda | Relagada | sikatapalli | 2 | 25 KVA | 0.25
24 | MALKANGIRI | Korukonda | Nakamamudi | Suripada | 1.8 | 25 KVA | 0.3
25 | MALKANGIRI | Korukonda | Nakamamudi | Pujhariguda | 0.6 | 25 KVA | 0.3

## Ph Convn & DTR Augmentation
SCOPE OF WORK FOR STRENGTHENING OF ELECRICAL INFRASTRUCTURE( UPGRADATION OF ELECTRICAL INFRA STRUCTURE I ) UNDER SETU 2023-24 SCHEME
SL No. | District | Circle | Division | GP | 11kV Feeder | Existing DSS Name | Existing Capacity in KVA | Proposed Capcity in KVA | 11kv Ph Conversion in Km | LT cable conversion in Km
[10 empty] | 35sqmm | 50sqmm
1 | Malkangiri | Jeypore | MED | Badapada | Badpada Town | Muliguda | 16 | 25 | 1 | 0.3
2 | Malkangiri | Jeypore | MED | Badapada | Badpada Town | Luharam | 16 | 25 | 3 | 0.7
3 | Malkangiri | Jeypore | MED | Badapada | Badpada Town | Dabuguda | 16 | 25 | 2 | 0.6
4 | Malkangiri | Jeypore | MED | Badapada | Badpada Town | Sindhiput | 16 | 25 |  | 0.2
5 | Malkangiri | Jeypore | MED | Badapada | Badpada Town | Mutambo | 25 | 63 |  |  | 0.2
6 | Malkangiri | Jeypore | MED | Badapada | Badpada Town | Badapada-2 | 16 | 25 |  | 0.5
7 | Malkangiri | Jeypore | MED | Badapada | Badpada Town | Janbai Colony | 25 | 63 |  |  | 0.4
8 | Malkangiri | Jeypore | MED | Badapada | Badpada Town | Khajuri guma | 16 | 25 |  | 0.4
9 | Malkangiri | Jeypore | MED | Badapada | Badpada Town | Kodaguma-1 | 16 | 25 |  | 0.2
10 | Malkangiri | Jeypore | MED | Badapada | Badpada Town | Kodaguma-2 | 16 | 25 |  | 0.3
11 | Malkangiri | Jeypore | MED | Badapada | Badpada Town | Bariput | 25 | 63 |  |  | 0.2
12 | Malkangiri | Jeypore | MED | Badapada | Badpada Town | Khalimal | 16 | 25 |  | 0.3
13 | Malkangiri | Jeypore | MED | Badapada | Badpada Town | Doliambo | 16 | 25 |  | 0.6
14 | Malkangiri | Jeypore | MED | Badapada | Badpada Town | Bandhaguda | 16 | 25 |  | 0.4
15 | Malkangiri | Jeypore | MED | Badapada | Badpada Town | Annabhat | 16 | 25 |  | 0.7
16 | Malkangiri | Jeypore | MED | Badapada | Badpada Town | Publiguda | 25 | 63 |  |  | 0.5
17 | Malkangiri | Jeypore | MED | Badapada | Badpada Town | Bhimaram | 16 | 25 |  | 0.3
18 | Malkangiri | Jeypore | MED | Badapada | Badpada Town | Sindhiput | 16 | 25 |  |  | 0.6
19 | Malkangiri | Jeypore | MED | Badapada | Badpada Town | Jantapai | 16 | 25 |  | 0.3
20 | Malkangiri | Jeypore | MED | papermetla | RE Feeder | Doliambo | 16 | 25 |  | 0.2
21 | Malkangiri | Jeypore | MED | papermetla | RE Feeder | Limatang | 16 | 25 | 10 | 0.6
22 | Malkangiri | Jeypore | MED | papermetla | RE Feeder | Kutapalli | 16 | 25 |  | 0.5
23 | Malkangiri | Jeypore | MED | papermetla | RE Feeder | Sumagai | 16 | 25 |  | 0.2
24 | Malkangiri | Jeypore | MED | papermetla | RE Feeder | Kutedubandha | 16 | 25 |  | 0.7
25 | Malkangiri | Jeypore | MED | papermetla | RE Feeder | Mandapalli | 16 | 25 |  | 0.3
26 | Malkangiri | Jeypore | MED | papermetla | RE Feeder | Lawaguda | 16 | 25 | 2 | 0.7
27 | Malkangiri | Jeypore | MED | papermetla | RE Feeder | Tentuliguda | 16 | 25 |  | 0.6
28 | Malkangiri | Jeypore | MED | papermetla | RE Feeder | Motluduga | 16 | 25 |  | 0.4
29 | Malkangiri | Jeypore | MED | papermetla | RE Feeder | Jamagodi | 16 | 25 | 1 | 0.4
30 | Malkangiri | Jeypore | MED | Badapada | Ralegada | Janbai | 16 | 25 |  | 0.2
31 | Malkangiri | Jeypore | MED | Ralegada | Ralegada | Sarkubandha | 16 | 25 | 7 | 0.3
32 | Malkangiri | Jeypore | MED | Ralegada | Ralegada | Iskapalli | 16 | 25 | 2 | 0.5
33 | Malkangiri | Jeypore | MED | Ralegada | Ralegada | Bangarusuda | 16 | 25 | 5 | 0.6
34 | Malkangiri | Jeypore | MED | Ralegada | Ralegada | Petamani | 16 | 25 | 3 | 0.5
35 | Malkangiri | Jeypore | MED | Ralegada | Ralegada | Thantipar | 16 | 25 | 3 | 0.5
36 | Malkangiri | Jeypore | MED | Ralegada | Ralegada | ConthagudA | 16 | 25 | 3 | 0.2
37 | Malkangiri | Jeypore | MED | Ralegada | Ralegada | Khanupalli | 16 | 25 | 2 | 0.3
38 | Malkangiri | Jeypore | MED | Ralegada | Ralegada | Dhalaoduga | 16 | 25 | 3 | 0.4
39 | Malkangiri | Jeypore | MED | Ralegada | Ralegada | Galapallam | 16 | 25 | 1 | 0.2
40 | Malkangiri | Jeypore | MED | Ralegada | Ralegada | Pedahadu | 16 | 25 | 3 | 0.5
41 | Malkangiri | Jeypore | MED | Ralegada | Ralegada | Kadhasupalli | 16 | 25 | 2 | 0.7
42 | Malkangiri | Jeypore | MED | Ralegada | Ralegada | Kakulioguda | 16 | 25 | 2 | 0.2
43 | Malkangiri | Jeypore | MED | Ralegada | Ralegada | Gajalmamudi | 16 | 25 | 3 | 0.7
44 | Malkangiri | Jeypore | MED | Ralegada | Ralegada | Karamjhulai | 16 | 25 |  | 0.2
45 | Malkangiri | Jeypore | MED | Ralegada | Ralegada | Palanray | 16 | 25 | 4 | 0.4
46 | Malkangiri | Jeypore | MED | Ralegada | Ralegada | Dabulpahar | 16 | 25 | 3 | 0.2
47 | Malkangiri | Jeypore | MED | Ralegada | Ralegada | Gajar | 16 | 25 | 3 | 0.5
48 | Malkangiri | Jeypore | MED | Ralegada | Ralegada | Purnatakapadar | 16 | 25 | 3 | 0.4
49 | Malkangiri | Jeypore | MED | Ralegada | Ralegada | Chittandali | 16 | 25 | 4 | 0.4
50 | Malkangiri | Jeypore | MED | Ralegada | Ralegada | Dabududa | 16 | 25 | 2 | 0.5
51 | Malkangiri | Jeypore | MED | Ralegada | Ralegada | Batenu | 16 | 25 | 2 | 0.3
52 | Malkangiri | Jeypore | MED | Ralegada | Ralegada | Raleguda | 16 | 25 | 3 | 0.2
53 | Malkangiri | Jeypore | MED | Ralegada | Ralegada | Kanchanpeta | 16 | 25 | 4 | 0.5
54 | Malkangiri | Jeypore | MED | Ralegada | Ralegada | Suapalli | 16 | 25 | 2 | 0.7
55 | Malkangiri | Jeypore | MED | Dhuliput | Ralegada | Dhuliput | 16 | 25 |  | 0.2
56 | Malkangiri | Jeypore | MED | Dhuliput | Ralegada | Dumuriguda | 16 | 25 | 1 | 0.4
57 | Malkangiri | Jeypore | MED | Dhuliput | Ralegada | Senabandha | 16 | 25 | 3 | 0.7
58 | Malkangiri | Jeypore | MED | Dhuliput | Ralegada | Iskabandha | 16 | 25 |  | 0.5
59 | Malkangiri | Jeypore | MED | Dhuliput | Ralegada | Dhandhalgandhi | 16 | 25 |  | 0.3
60 | Malkangiri | Jeypore | MED | Dhuliput | Ralegada | Chittanchilka | 16 | 25 |  | 0.5
61 | Malkangiri | Jeypore | MED | Dhuliput | Ralegada | Nuamamudi | 16 | 25 |  | 0.5
62 | Malkangiri | Jeypore | MED | Dhuliput | Ralegada | Dagarpalli | 16 | 25 |  | 0.3
63 | Malkangiri | Jeypore | MED | Dhuliput | Ralegada | Annibinindi | 16 | 25 |  | 0.6
64 | Malkangiri | Jeypore | MED | Dhuliput | Ralegada | Ranginiguda | 16 | 25 |  | 0.2
65 | Malkangiri | Jeypore | MED | Dhuliput | Ralegada | Sunamgai | 16 | 25 |  | 0.4
66 | Malkangiri | Jeypore | MED | papermetla | Panasput | Dudapalli | 4*16 | 4*25 |  | 2.5
67 | Malkangiri | Jeypore | MED | papermetla | Panasput | Kadalimanda | 3*16 | 3*25 |  | 2.2
68 | Malkangiri | Jeypore | MED | papermetla | Panasput | Bidarpakna | 16 | 25 |  | 0.7
69 | Malkangiri | Jeypore | MED | papermetla | Panasput | Ruma | 16 | 25 |  | 0.3
70 | Malkangiri | Jeypore | MED | papermetla | Panasput | Kuniguda | 16 | 25 |  | 0.6
71 | Malkangiri | Jeypore | MED | papermetla | Panasput | Gandhiguda | 16 | 25 |  | 0.2
72 | Malkangiri | Jeypore | MED | Jodambo | Panasput | Hantalguda | 16 | 25 |  | 0.4
73 | Malkangiri | Jeypore | MED | Jodambo | Panasput | Majaguda | 16 | 25 |  | 0.4
74 | Malkangiri | Jeypore | MED | Jodambo | Panasput | Gofiguda | 16 | 25 |  | 0.6
75 | Malkangiri | Jeypore | MED | Jodambo | Panasput | Tikarpada | 16 | 25 |  | 0.6
76 | Malkangiri | Jeypore | MED | Jodambo | Panasput | Jajapalam | 25 |  | 2 | 0.4
77 | Malkangiri | Jeypore | MED | Jodambo | Panasput | Gadalgumi | 16 | 25 |  | 0.3
78 | Malkangiri | Jeypore | MED | Jodambo | Panasput | Janturai | 16 | 25 | 2 | 0.2
79 | Malkangiri | Jeypore | MED | Jodambo | Panasput | Sindhiwadi | 16 | 25 | 0.5 | 0.3
80 | Malkangiri | Jeypore | MED | Jodambo | Panasput | Jodambo | 16 | 25 | 2 | 0.6
81 | Malkangiri | Jeypore | MED | Gajalmamudi | Panasput | Kenduguda | 16 | 25 |  | 0.3
82 | Malkangiri | Jeypore | MED | Gajalmamudi | Panasput | Goraguda | 16 | 25 |  | 0.3
83 | Malkangiri | Jeypore | MED | Gajalmamudi | Panasput | Jhuniguda | 16 | 25 |  | 0.5
84 | Malkangiri | Jeypore | MED | Gajalmamudi | Panasput | Onjaniyaguda | 16 | 25 |  | 0.6
85 | Malkangiri | Jeypore | MED | Gajalmamudi | Panasput | Katuguda | 16 | 25 |  | 0.3
86 | Malkangiri | Jeypore | MED | Gajalmamudi | Panasput | Chapalguda | 16 | 25 |  | 0.6
87 | Malkangiri | Jeypore | MED | Gajalmamudi | Panasput | Totapalli | 25 | 63 | 4 | 0.7
88 | Malkangiri | Jeypore | MED | Gajalmamudi | Panasput | Mojaguda | 16 | 25 |  | 0.7
89 | Malkangiri | Jeypore | MED | Gajalmamudi | Panasput | Kotaput | 16 | 25 |  | 0.3
90 | Malkangiri | Jeypore | MED | Gajalmamudi | Panasput | Panasgandhi | 16 | 25 |  | 0.4
91 | Malkangiri | Jeypore | MED | Gajalmamudi | Panasput | Singharum | 16 | 25 |  | 0.6
92 | Malkangiri | Jeypore | MED | Gajalmamudi | Panasput | Gajalmamudi | 25 | 63 | 1 | 0.7
93 | Malkangiri | Jeypore | MED | Jodambo | Panasput | Kunturpadar | 16 | 25 | 3 | 0.4
94 | Malkangiri | Jeypore | MED | Jodambo | Panasput | Kutuguda | 16 | 25 |  | 0.2
95 | Malkangiri | Jeypore | MED | Jodambo | Panasput | Nilonam | 16 | 25 |  | 0.5
96 | Malkangiri | Jeypore | MED | Jodambo | Panasput | Talapadar | 16 | 25 |  | 0.4
97 | Malkangiri | Jeypore | MED | Jodambo | Panasput | Dallabeda | 16 | 25 |  | 0.3
98 | Malkangiri | Jeypore | MED | Jodambo | Panasput | Bhitar Dallabeda | 16 | 25 |  | 0.3
99 | Malkangiri | Jeypore | MED | Jodambo | Panasput | Panapadar | 16 | 25 |  | 0.5
100 | Malkangiri | Jeypore | MED | Jodambo | Panasput | Panaspadar | 16 | 25 |  | 0.4
101 | Malkangiri | Jeypore | MED | Jodambo | Panasput | Raba | 16 | 25 |  | 0.6
102 | Malkangiri | Jeypore | MED | Jodambo | Panasput | Simlapadar | 16 | 25 |  | 0.3
103 | Malkangiri | Jeypore | MED | Panasput | Panasput | Matikhal | 16 | 25 |  | 0.6
104 | Malkangiri | Jeypore | MED | Panasput | Panasput | Sindhiput | 25 | 63 |  |  | 0.6
105 | Malkangiri | Jeypore | MED | Panasput | Panasput | Mundiguma | 16 | 25 |  | 0.2
106 | Malkangiri | Jeypore | MED | Panasput | Panasput | Tutugumi | 16 | 25 |  | 0.3
107 | Malkangiri | Jeypore | MED | Panasput | Panasput | Damgor | 16 | 25 |  | 0.4
108 | Malkangiri | Jeypore | MED | Panasput | Panasput | Mukurapalli | 25 | 63 |  |  | 0.3
109 | Malkangiri | Jeypore | MED | Panasput | Panasput | Damrapadar | 16 | 25 |  | 0.4
110 | Malkangiri | Jeypore | MED | Andhrapalli | Panasput | Andhrapalli | 16 | 25 |  | 0.6
111 | Malkangiri | Jeypore | MED | Andhrapalli | Panasput | Bhusumpadar | 16 | 25 |  | 0.7
112 | Malkangiri | Jeypore | MED | Andhrapalli | Panasput | Tentuliguda | 16 | 25 |  | 0.2
113 | Malkangiri | Jeypore | MED | Andhrapalli | Panasput | Bachilpadar | 16 | 25 |  | 0.4
114 | Malkangiri | Jeypore | MED | Panasput | Panasput | Jamuguda | 16 | 25
115 | Malkangiri | Jeypore | MED | Panasput | Panasput | Musuniguda | 16 | 25
116 | Malkangiri | Jeypore | MED | Panasput | Panasput | Takuguda | 16 | 25
117 | Malkangiri | Jeypore | MED | Panasput | Panasput | Mulaput | 16 | 25
118 | Malkangiri | Jeypore | MED | Panasput | Panasput | Panasput | 2*25 | 63 |  |  | 0.5
119 | Malkangiri | Jeypore | MED | Panasput | Panasput | Ghorobeda | 16 | 25
120 | Malkangiri | Jeypore | MED | Panasput | Panasput | Simgari | 16 | 25
121 | Malkangiri | Jeypore | MED | Panasput | Panasput | Handikhallo | 16 | 25
122 | Malkangiri | Jeypore | MED | Panasput | Panasput | Golaguda | 16 | 25
123 | Malkangiri | Jeypore | MED | Panasput | Panasput | Gumraguda | 16 | 25 |  | 0.7
124 | Malkangiri | Jeypore | MED | Panasput | Panasput | Tawalguda | 16 | 25 |  | 0.6
125 | Malkangiri | Jeypore | MED | Panasput | Panasput | Kusumput | 16 | 25 |  | 0.5
126 | Malkangiri | Jeypore | MED | Panasput | Panasput | Tutiguda | 16 | 25 |  | 0.4
127 | Malkangiri | Jeypore | MED | Panasput | Panasput | Salgamput | 16 | 25 |  | 0.7
128 | Malkangiri | Jeypore | MED | Nakamamudi | Doraguda | Dyk-I | 25 | 63 | 1 | 0.6
129 | Malkangiri | Jeypore | MED | Nakamamudi | Doraguda | chunchal Mandal | 16 | 25 | 2 | 0.7
130 | Malkangiri | Jeypore | MED | Nakamamudi | Doraguda | BalelGuda | 16 | 25 | 2 | 0.7
131 | Malkangiri | Jeypore | MED | Nakamamudi | Doraguda | Parjaguda | 16 | 25 | 2 | 0.2
132 | Malkangiri | Jeypore | MED | Nakamamudi | Doraguda | Bajabandha | 16 | 25 | 2 | 0.2
133 | Malkangiri | Jeypore | MED | Nakamamudi | Doraguda | Dyke-II | 16 | 25 | 0.5 | 0.3
134 | Malkangiri | Jeypore | MED | Nakamamudi | Doraguda | Raipur | 16 | 25 | 2 | 0.2
135 | Malkangiri | Jeypore | MED | Nakamamudi | Doraguda | Pumaguda | 16 | 25 | 3 | 0.2
136 | Malkangiri | Jeypore | MED | Nakamamudi | Doraguda | Bhuljhora | 16 | 25 | 3 | 0.7
137 | Malkangiri | Jeypore | MED | Nakamamudi | Doraguda | Bodiguda | 16 | 25 | 4 | 0.5
138 | Malkangiri | Jeypore | MED | Nakamamudi | Doraguda | Nakamamudi | 16 | 25 | 0.2 | 0.3
139 | Malkangiri | Jeypore | MED | Nakamamudi | Doraguda | Sindhiguda | 16 | 25 | 3 | 0.7
140 | Malkangiri | Jeypore | MED | Nakamamudi | Doraguda | Khadirajodi | 16 | 25 | 3 | 0.2
141 | Malkangiri | Jeypore | MED | Nakamamudi | Doraguda | Gopiguda | 16 | 25 | 1.5 | 0.5
142 | Malkangiri | Jeypore | MED | Nakamamudi | Doraguda | Dyk-III | 16 | 25 | 4 | 0.2
143 | Malkangiri | Jeypore | MED | Nakamamudi | Doraguda | Nuaguda | 16 | 25 | 2 | 0.7
144 | Malkangiri | Jeypore | MED | Nakamamudi | Doraguda | Bandramamudi | 16 | 25 | 3 | 0.5
145 | Malkangiri | Jeypore | MED | Nakamamudi | Doraguda | Kaning | 16 | 25 | 2 | 0.3
146 | Malkangiri | Jeypore | MED | Nakamamudi | Doraguda | Nithapani | 16 | 25 | 3 | 0.5
147 | Malkangiri | Jeypore | MED | Nakamamudi | Doraguda | Gudiguda | 16 | 25 | 4 | 0.2
148 | Malkangiri | Jeypore | MED | Nakamamudi | Doraguda | Khaniguda | 16 | 25 | 3 | 0.4
149 | Malkangiri | Jeypore | MED | Nakamamudi | Doraguda | Mojurandi | 16 | 25 | 3 | 0.2
150 | Malkangiri | Jeypore | MED | Nakamamudi | Doraguda | Dumuspadar | 16 | 25 | 5 | 0.6
151 | Malkangiri | Jeypore | MED | Nakamamudi | Doraguda | Piplapadar | 16 | 25 | 4 | 0.7
152 | Malkangiri | Jeypore | MED | Nakamamudi | Doraguda | Tentulipadar | 16 | 25 | 2 | 0.5
153 | Malkangiri | Jeypore | MED | Nakamamudi | Doraguda | Mitubonda | 16 | 25 | 2 | 0.5
154 | Malkangiri | Jeypore | MED | Nakamamudi | Doraguda | Dugmaguda | 16 | 25 | 4 | 0.6
155 | Malkangiri | Jeypore | MED | Nakamamudi | Doraguda | Gandapadar | 16 | 25 | 1 | 0.3
156 | Malkangiri | Jeypore | MED | Nakamamudi | Doraguda | Korkaguda | 16 | 25 | 5 | 0.5
157 | Malkangiri | Jeypore | MED | Nakamamudi | Doraguda | Kenduguda | 16 | 25 | 6 | 0.4
158 | Malkangiri | Jeypore | MED | Nakamamudi | Doraguda | Ladiguma | 16 | 25 | 4 | 0.4
159 | Malkangiri | Jeypore | MED | Nakamamudi | Doraguda | Taimal | 16 | 25 | 3 | 0.7
160 | Malkangiri | Jeypore | MED | Nakamamudi | Doraguda | Damarbada | 4*16 | 3*25 | 3 | 1.8
161 | Malkangiri | Jeypore | MED | Nakamamudi | Doraguda | Rava | 3*16 | 3*25 | 2 | 1.3
162 | Malkangiri | Jeypore | MED | Nakamamudi | Doraguda | Meduliguda | 16 | 25 | 5 | 0.5
163 | Malkangiri | Jeypore | MED | Nakamamudi | Doraguda | Nanijola | 16 | 25 | 2 | 0.5
164 | Malkangiri | Jeypore | MED | Nakamamudi | Doraguda | Bokli | 16 | 25 | 3 | 0.2
165 | Malkangiri | Jeypore | MED | Nakamamudi | Doraguda | Khojuniguda | 16 | 25 | 4 | 0.3
166 | Malkangiri | Jeypore | MED | Nakamamudi | Doraguda | Amlibeda-I | 16 | 25 | 2 | 0.5
167 | Malkangiri | Jeypore | MED | Nakamamudi | Doraguda | Tikarpara | 16 | 25 | 2 | 0.2
168 | Malkangiri | Jeypore | MED | Nakamamudi | Doraguda | Gisingbeda | 16 | 25 | 3 | 0.3
169 | Malkangiri | Jeypore | MED | Nakamamudi | Doraguda | Anjaniguda | 16 | 25 | 6 | 0.6