## Dashboard
S. No | Item Description | Qty | Unit Rate (Rs.) | Unit GST (Rs.) | Unit Amount (Rs.) | Total All Inclusive Value (Rs.) | HSN Code
1 | Supply | 1
2 | Service | 1
Total Amount

## BoM
SUPPLY BOQ
Sl. No. | Description | UoM | Qty | Unit Rate (Rs.) | Unit GST (Rs.) | Unit Amount (Rs.) | Total All Inclusive Value (Rs.)
1 | 12 U Wall mount rack with all mounting accessories (Includes 5A&16A dual type minimum 5 no of Socket with 16A MCB) | SET | 15
2 | 12 U Wall mount rack with all mounting accessories (Includes 5A&15A dual type with 16A MCB / 08 pin DC Power strip with 20Amp MCB) | SET | 20
3 | Rack AC PDU's 5Nos. female socket – Indian standard Round Pin 5A/15A dual type with 16A MCB | No | 20
4 | Rack DC PDU's 8Nos. Pin socket with 20A MCB | No | 5
5 | PLB HDPE Pipe 40 mm | M | 300
6 | 24 Port CAT 6 Patch Panel fully loaded | No | 40
7 | Plug 8 Conductor Modular (RJ45 for CAT6) with socket cap. | No | 50
8 | Patch Cord CAT 6 Giga Speed 01mtr. Long | No | 425
9 | Patch Cord CAT 6 Giga Speed 02mtr/3mtr. Long | No | 400
10 | Patch Cord CAT 6 Giga Speed 05mtr. Long | No | 10
11 | Patch Cord CAT 6 10Giga Speed 10mtr. Long | No | 10
12 | Patch Cord CAT 6 10Giga Speed 15mtr. Long | No | 10
13 | CableCAT6 LSZH class Size 4 pair | M | 20000
14 | CAT6 Shielded (STP) 4 Pair | M | 500
15 | Velcro Cable ties 10 mm (25 Meter) | Pac | 4
16 | PVC Channel/Conduit/ flexible pipe/Casing Pipe Including Bands | M | 5500
17 | PVCSWR Pipe | M | 20
18 | Keystone Jack CAT 6 (I/O) | No | 400
19 | Surface Mount Box | No | 400
20 | Face Plate Single | No | 400
21 | Face Plate Duplex | No | 50
22 | Cable Manager(19' 1U) with cover (1U) | No | 20
23 | 3 Sqmm 03 Core Copper Power cable with required lugs | M | 400
24 | 3 Sqmm 02 Core Copper Power cable with required lugs | M | 400
25 | 06 Amp & 16 Amp both power supply supported socket, switch with mounting box | No | 20
Total Amount
ITC BOQ
S No. | Description | UoM | Qty | Unit Rate (Rs.) | Unit GST (Rs.) | Unit Amount (Rs.) | Total All Inclusive Value (Rs.)
For New Office LAN Work
1 | Laying of UTP/STP Cat6 cables through conduit/buttons/flexible pipe, preliminary testing & numbered ferruling, fixing of face plate with information outlet/key stone jack(I/O), Fixing of LAN cable at patch panel end, Numbering of patch panel | Nos(Node) | 400
2 | Laying of power cables from rack to nearby power tapping point and rack to rack(near by building) through conduit/buttons/flexible pipe | M | 700
3 | Fixing of patch panel (24/48 Ports) on the rack for additional line items | EA | 40
4 | Fixing of Rack on the wall | EA | 35
5 | Fixing of Power Socket with Box | EA | 20
6 | Chiseling of wall/floor/Soil | M | 50
7 | Digging soil (depth 0.8 mtr) and installation of HDPE pipe | M | 300
8 | Providing temporary LAN (with out conduit) connection at various camps. | Nos(Node) | 20
For Existing Office LAN Work
9 | Dismantling and relocation of LAN active equipment (routers, switches), racks, and, if possible, cables (the cables ,patch panel and IO boxes need to be safely removed for reuse at a suitable location). Additionally, if our new office is ready, the installation of the racks with active equipment will be carried out at various locations related to this tender/order (within 15 km). | EA | 20
10 | Preventive Maintenance of existing LAN items/Active or passive components inside Rack (42U/9U/12U) across TPSODL Office locations. | Rack | 200
11 | Preventive Maintenance of existing LAN point (Rectification and troubleshooting) across TPSODL Office locations. | LAN Point | 200
Total Amount